## INDEX
Uttar Gujarat Vij Company Limited, Mehsana
Performas for FY 2022-23
Performa No. | Particulars | Remarks/Report
SoP 001 | Fatal & Non Fatal Accident Report | Qtrly FY 2022-23
SoP 003 | Register for compiling the complaints classification wise | Qtrly FY 2022-23
SoP 004 | Actions or steps carried out by UGVCL towards public awareness in the year | Qtrly FY 2022-23
SoP 005 | Action taken report by the Redressal Committee | Qtrly FY 2022-23
SoP 006 | Failure of Distribution Transformer. | Qtrly FY 2022-23
SoP 011 A | System Average Interruption Frequency Index (SAIFI) | Qtrly FY 2022-23
SoP 011 B | System Average Interruption Duration Index (SAIDI) | Qtrly FY 2022-23
SoP 011 C | Momentary Average Interruption Frequency Index (MAIFI) | Qtrly FY 2022-23
SoP 013 | Meter Faults | Qtrly FY 2022-23
SoP 016 | Compensation Details | Qtrly FY 2022-23

## SoP001
Uttar Gujarat Vij Company Limited
QUARTER :- 1st (Apr.-22 to Jun.-22)
YEAR :-2022-23
Performa - SOP 001 : Fatal and Non-fatal accident report for quarter ending
Sr. No. | Name of area | No.of accidents during the quarter |  |  |  |  | Cumulative since the first quarter of the current FY
|  | Departmental |  | Out side
|  | FH | NFH | FH | FA | NFH | FH | FA | NFH
1 | Sabarmati | 2 | 4 | 9 | 4 | 2 | 11 | 4 | 6
2 | Mehsana | 0 | 1 | 5 | 4 | 3 | 5 | 4 | 4
3 | Palanpur | 0 | 1 | 3 | 5 | 0 | 3 | 5 | 1
4 | Himatnagar | 0 | 1 | 3 | 8 | 1 | 3 | 8 | 2
| TOTAL | 2 | 7 | 20 | 21 | 6 | 22 | 21 | 13

## SoP 003
Uttar Gujarat Vij Company Limited
QUARTER :- 1st (Apr. - 22 to June. - 22)
Performa SoP 003 B:
APPENDIX - B
REGISTER FOR COMPILING THE COMPLAINTS CLASSIFICATION WISE
Classification | Pending complaint of previous quarter | Complaints received during the quarter | Total complaints | No.of complaints redressed during the month |  |  |  |  | Balance complaints to be redressed (4) - (9) | Classification of complaint
|  |  |  | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8)
|  |  |  | Within 50% of stipulated time | Within stipulated time | Upto double the stipulated time | More than double the stipulated time
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
A(i) | 0 | 41706 | 41706 | 33428 | 8278 | 0 | 0 | 41706 | 0 | Loose conn. from pole
A(ii) | 0 | 20138 | 20138 | 16482 | 3656 | 0 | 0 | 20138 | 0 | Int.due to line breakdown
A(iii) | 0 | 7179 | 7179 | 3649 | 3530 | 0 | 0 | 7179 | 0 | Interruption due to failure of transformer
B(i) | 0 | 1575 | 1575 | 645 | 930 | 0 | 0 | 1575 | 0 | Ordinary case, which requires no augmentation
B(ii) | 0 | 865 | 865 | 435 | 430 | 0 | 0 | 865 | 0 | Where augmentation is required
C(i) | 0 | 8158 | 8158 | 5639 | 2519 | 0 | 0 | 8158 | 0 | Stopped/Defective Meters
C(ii) | 0 | 4679 | 4679 | 3622 | 1057 | 0 | 0 | 4679 | 0 | Billing on average basis for more than two bills
D(i) | 0 | 4475 | 4475 | 3225 | 1250 | 0 | 0 | 4475 | 0 | Loose Wires
D(ii) | 0 | 650 | 650 | 432 | 218 | 0 | 0 | 650 | 0 | Inadequate ground clearance
E(i) | 0 | 1973 | 1973 | 1556 | 417 | 0 | 0 | 1973 | 0 | For current bills where no additional information is required
E(ii) | 0 | 2022 | 2022 | 1191 | 831 | 0 | 0 | 2022 | 0 | Where additional information relating to correctness of reading etc. is required
F(i) | 0 | 964 | 964 | 548 | 416 | 0 | 0 | 964 | 0 | Where extension of mains is not required
F(ii) | 0 | 318 | 318 | 225 | 93 | 0 | 0 | 318 | 0 | Where extension of mains is required
F(iii) | 0 | 1992 | 1992 | 1420 | 572 | 0 | 0 | 1992 | 0 | Modification in connected load
F(iv) | 0 | 3524 | 3524 | 2465 | 1059 | 0 | 0 | 3524 | 0 | Name change/reconnection
G | 0 | 529 | 529 | 351 | 178 | 0 | 0 | 529 | 0 | Refund of amount due in regard to temporary connection
H | 0 | 12750 | 12750 | 9908 | 2842 | 0 | 0 | 12750 | 0 | Others
Total | 0 | 113497 | 113497 | 85221 | 28276 | 0 | 0 | 113497 | 0

## SoP 004
Uttar Gujarat Vij Company Limited
QUARTER :- 1st (Apr. - 22 to June. - 22)
Performa SoP 004
Sr. No. | Actions or steps carried out by UGVCL towards public awareness in the quarter | Likely number of consumers influenced | Details about media
1 | Display board of SOP at circle, Division & S/Dn | 224044 | Notice Board
2 | Display board of Name of information officers under RTI Act 2005 at Circle,Division,Sub- division offices. | 224252 | Notice Board
3 | Consumer care centers at various places | 125905 | Verbal & Notice Board at CCC
4 | Advertisement through Daily News papers | 263599 | Daily News papers
5 | Pamphlets distributed among public | 271617 | Pamphlets
6 | Advertisement through slide in TV / Banners | 167574 | T V Channels
7 | On Web site of Uttar Gujarat Vij Company Limited | 189131 | Internet
8 | Through Regular Energy Bills | 4115338 | Energy Bill
9 | Others | 6858 | CD

## SoP 005
Uttar Gujarat Vij Company Limited
QUARTER :- 1st (Apr.- 22 to June- 22)
YEAR :-2022-23
Performa SoP 005 B: Action taken report by the Redressal Committee
Sr. No. | Month | Date and time meeting conducted | No. of complaints registered at the meeting | No. of complaints pending at the end of the meeting | Nos of cases Disposed | Location of Hearing
1 | Apr.22 | 28.04.2022 | 2 | 1 | 1 | Circle office Sabarmati
|  | 28.04.2022 | 1 | 0 | 1 | Circle office Sabarmati
2 | May.22 | 13.05.2022 | 1 | 1 | 0 | Circle office Sabarmati
|  | 20.05.2022 | 4 | 4 | 0 | Circle office Sabarmati
|  | 25.05.2022 | 1 | 0 | 1 | Corporate Office, Mehsana
|  | 27.05.2022 | 7 | 1 | 6 | Circle office Sabarmati
3 | June.22 | 04.06.2022 | 2 | 0 | 2 | Circle office Sabarmati
|  | 10.06.2022 | 2 | 1 | 1 | Circle office Sabarmati
|  | 18.06.2022 | 3 | 0 | 3 | Circle office Sabarmati
|  | 22.06.2022 | 4 | 1 | 3 | Corporate Office, Mehsana
|  | 30.06.2022 | 3 | 3 | 0 | Circle office Sabarmati

## SoP 006
Uttar Gujarat Vij Company Limited
QUARTER :- 1st (Apr. - 22 to June - 22)
Performa SoP 006 : Failure of Distribution Transformer.
Sr. No. | Class | No. of existing Distribution transformer at the start of the quarter | No.of Distribution transformers added during the quarter | Total number of Distribution transformers | Total number of Distribution transformer failed during the quarter | % failure rate of Distribution transformer
|  | A | B | C=A+B | D | H= (D) * 100/C
1 | 11KV | 361688 | 4588 | 366276 | 4556 | 1.2439
Total |  | 361688 | 4588 | 366276 | 4556 | 1.2439

## SOP011-(AG)
Uttar Gujarat Vij Company Limited
QUARTER :- 1st (Apr. - 22 to June. - 22)
YEAR :- 2022-23
SoP 011 - A : System Average Interruption Frequency Index (SAIFI) for AG. Dominant Category
Sr. No | Month | Ni - Number of Customers for each sustained interruptions (in numbers) | NT - Total No of customers served (in Numbers) | CI=∑ Ni | SAIFI = ∑ Ni/Nt (Monthly SAIFI)
1 | 2 | 3 | 4 | 5 | 6=5/4
1 | 2022-04-01 | 356450 | 608285 | 1095519 | 1.801
2 | 2022-05-01 | 406274 | 609034 | 1216089 | 1.9968
3 | 2022-06-01 | 492478 | 610448 | 1779789 | 2.9155
SoP 011 - B : System Average Interruption Duration Index (SAIDI) for AG. Dominant Category
Sr. No | Month | Ri = Restoration Time for each sustained interruption event (in hours) | Ni - Number of interrupted Customers for each sustained interruption event (in numbers) | Ri* Ni - Total customer interruption Duration | NT - Total No of customers served (in Numbers) | Customer Intt. Duration CMI = ΣRi*Ni | SAIDI = ΣRi*Ni/Nt (Monthly SAIDI)
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2022-04-01 | 1900-10-28 23:46 | 356450 |  | 608285 | 2071-06-25 23:55 | 0.10297
2 | 2022-05-01 | 1901-01-18 07:58 | 406274 |  | 609034 | 2120-09-13 18:03 | 0.13236
3 | 2022-06-01 | 1901-07-03 11:28 | 492478 |  | 610448 | 2209-01-25 20:44 | 0.18492
SoP 011 - C : Momentary Average Interruption Frequency Index (MAIFI) for AG. Dominant Category
Sr. No | Month | IMi = Number of Momentary interruptions for the month (in numbers) | Nmi = Total no of customers for each momentary interruptions (in numbers) | Imi =Nmi Number of customer Momentary interruptions (in numbers) | Nt - Total no of customers served (in numbers) | Customer Intt. ΣImi*Nmi | MAIFI=ΣImi*Nmi/Nt
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2022-04-01 | 10794 | 539782 |  | 608285 | 2504538 | 4.1174
2 | 2022-05-01 | 10989 | 539552 |  | 609034 | 2575118 | 4.2282
3 | 2022-06-01 | 12490 | 552963 |  | 610448 | 2993660 | 4.904

## SOP011-(JGY)
Uttar Gujarat Vij Company Limited
QUARTER :- 1st (Apr. - 22 to Jun. - 22)
YEAR :- 2022-23
SoP 011 - A : System Average Interruption Frequency Index (SAIFI) for JGY category
Sr. No | Month | Ni - Number of Customers for each sustained interruptions (in numbers) | NT - Total No of customers served (in Numbers) | CI=∑ Ni | SAIFI = ∑ Ni/Nt (Monthly SAIFI)
1 | 2 | 3 | 4 | 5 | 6=5/4
1 | 2022-04-01 | 1309667 | 2188466 | 3198982 | 1.4617
2 | 2022-05-01 | 1518128 | 2192026 | 3829125 | 1.7468
3 | 2022-06-01 | 1808003 | 2123208 | 6678475 | 3.1455
SoP 011 - B : System Average Interruption Duration Index (SAIDI) for JGY category
Sr. No | Month | Ri = Restoration Time for each sustained interruption event (in hours) | Ni - Number of interrupted Customers for each sustained interruption event (in numbers) | Ri* Ni - Total customer interruption Duration | NT - Total No of customers served (in Numbers) | Customer Intt. Duration CMI = ΣRi*Ni | SAIDI = ΣRi*Ni/Nt (Monthly SAIDI)
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2022-04-01 | 1900-03-08 05:52 | 1309667 |  | 2188466 | 2242-02-26 10:37 | 0.057105
2 | 2022-05-01 | 1900-04-21 21:43 | 1518128 |  | 2192026 | 221863.216 | 0.10121
3 | 2022-06-01 | 1900-06-18 23:27 | 1808003 |  | 2123208 | 337258.8514 | 0.15884
SoP 011 - C : Momentary Average Interruption Frequency Index (MAIFI) for JGY category
Sr. No | Month | IMi = Number of Momentary interruptions for the month (in numbers) | Nmi = Total no of customers for each momentary interruptions (in numbers) | Imi =Nmi Number of customer Momentary interruptions (in numbers) | Nt - Total no of customers served (in numbers) | Customer Intt. ΣImi*Nmi | MAIFI=ΣImi*Nmi/Nt
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2022-04-01 | 4279 | 2069541 |  | 2188466 | 10064706 | 4.599
2 | 2022-05-01 | 4635 | 2082376 |  | 2192026 | 10469906 | 4.7764
3 | 2022-06-01 | 5555 | 2039441 |  | 2123208 | 12716115 | 5.9891

## SOP011-(OTHER THAN AG-JGY)
Uttar Gujarat Vij Company Limited
QUARTER :- 1st (Apr. - 22 to June. - 22)
YEAR :- 2022-23
SoP 011 - A : System Average Interruption Frequency Index (SAIFI) for Other than AG & JGY category
Sr. No | Month | Ni - Number of Customers for each sustained interruptions (in numbers) | NT - Total No of customers served (in Numbers) | CI=∑ Ni | SAIFI = ∑ Ni/Nt (Monthly SAIFI)
1 | 2 | 3 | 4 | 5 | 6=5/4
1 | 2022-04-01 | 666620 | 1150475 | 1597066 | 1.3882
2 | 2022-05-01 | 705060 | 1158388 | 1692727 | 1.4613
3 | 2022-06-01 | 882176 | 1225329 | 2784262 | 2.2723
SoP 011 - B : System Average Interruption Duration Index (SAIDI) for Other than AG & JGY category
Sr. No | Month | Ri = Restoration Time for each sustained interruption event (in hours) | Ni - Number of interrupted Customers for each sustained interruption event (in numbers) | Ri* Ni - Total customer interruption Duration | NT - Total No of customers served (in Numbers) | Customer Intt. Duration CMI = ΣRi*Ni | SAIDI = ΣRi*Ni/Nt (Monthly SAIDI)
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2022-04-01 | 1900-02-20 07:09 | 666620 |  | 1150475 | 2034-12-08 23:33 | 1:02
2 | 2022-05-01 | 1900-02-21 20:54 | 705060 |  | 1158388 | 2073-08-15 01:31 | 1:19
3 | 2022-06-01 | 1900-03-30 14:44 | 882176 |  | 1225329 | 2188-10-07 20:08 | 2:04
SoP 011 - C : Momentary Average Interruption Frequency Index (MAIFI) for Other than AG & JGY category
Sr. No | Month | IMi = Number of Momentary interruptions for the month (in numbers) | Nmi = Total no of customers for each momentary interruptions (in numbers) | Imi =Nmi Number of customer Momentary interruptions (in numbers) | Nt - Total no of customers served (in numbers) | Customer Intt. ΣImi*Nmi | MAIFI=ΣImi*Nmi/Nt
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2022-04-01 | 1547 | 847994 |  | 1150475 | 2622679 | 2.2796
2 | 2022-05-01 | 1536 | 875322 |  | 1158388 | 2796581 | 2.4142
3 | 2022-06-01 | 2069 | 983675 |  | 1225329 | 3764843 | 3.0725

## SOP011-(OVERALL)
Uttar Gujarat Vij Company Limited
QUARTER :- 1st (Apr. - 22 to June. - 22)
YEAR :- 2022-23
SoP 011 - A : System Average Interruption Frequency Index (SAIFI) for UGVCL as a whole
Sr. No | Month | Ni - Number of Customers for each sustained interruptions (in numbers) | NT - Total No of customers served (in Numbers) | CI=∑ Ni | SAIFI = ∑ Ni/Nt (Monthly SAIFI)
1 | 2 | 3 | 4 | 5 | 6=5/4
1 | 2022-04-01 | 2332737 | 3947226 | 5891567 | 1.4926
2 | 2022-05-01 | 2629462 | 3959448 | 6737941 | 1.7017
3 | 2022-06-01 | 3182657 | 3958985 | 11242526 | 2.8397
SoP 011 - B : System Average Interruption Duration Index (SAIDI) for UGVCL as a whole
Sr. No | Month | Ri = Restoration Time for each sustained interruption event (in hours) | Ni - Number of interrupted Customers for each sustained interruption event (in numbers) | Ri* Ni - Total customer interruption Duration | NT - Total No of customers served (in Numbers) | Customer Intt. Duration CMI = ΣRi*Ni | SAIDI = ΣRi*Ni/Nt (Monthly SAIDI)
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2022-04-01 | 1901-02-26 12:47 | 2332737 |  | 3947226 | 236893.4201 | 1:26
2 | 2022-05-01 | 1901-07-04 02:35 | 2629462 |  | 3959448 | 365891.0313 | 2:13
3 | 2022-06-01 | 1902-03-22 01:39 | 3182657 |  | 3958985 | 555618.5542 | 3:22
SoP 011 - C : Momentary Average Interruption Frequency Index (MAIFI) for UGVCL as a whole
Sr. No | Month | IMi = Number of Momentary interruptions for the month (in numbers) | Nmi = Total no of customers for each momentary interruptions (in numbers) | Imi =Nmi Number of customer Momentary interruptions (in numbers) | Nt - Total no of customers served (in numbers) | Customer Intt. ΣImi*Nmi | MAIFI=ΣImi*Nmi/Nt
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2022-04-01 | 16620 | 3457317 |  | 3947226 | 15191923 | 3.8488
2 | 2022-05-01 | 17160 | 3497250 |  | 3959448 | 15841605 | 4.001
3 | 2022-06-01 | 20114 | 3576079 |  | 3958985 | 19474618 | 4.9191

## SoP013
Uttar Gujarat Vij Company Limited
QUARTER :- 1st (Apr. - 22 to June. - 22)
Performa SoP 013 : Meter faults
Consumer Category | No. of faulty meters at the start of the quarter | No. of faulty meters added during the quarter | Total No. of defective / faulty meter | No. of faulty Meters repaired and replaced | No. of faulty meters pending at the end of the quarter
| 1 | 2 | 3=2+1 | 4 | 5=3-4
Single Phase | 0 | 22198 | 22198 | 20788 | 1410
Three Phase | 614 | 5207 | 5821 | 5191 | 630
Total | 614 | 27405 | 28019 | 25979 | 2040

## SoP016
Uttar Gujarat Vij Company Limited
QUARTER :- 1st (Apr. - 22 to June. - 22)
Performa SoP 016 : Compensation details
COMPENSATION DETAILS
Sr. No. | Event | Compensation | No. of cases where compensation was given (in numbers) | Amt.of compensation paid (in Rs.)
1 | Duty to provide supply | Rs.50 per day of delay from the limit specified in the performance regulations | …NIL… | …NIL…
a) New connection
b) Additional load
c) Temporary supply
d) Shifting service connection
e) Transfer of service connection
f) Change in tariff category of consumer
2 | Complaints in billing | Rs.50 for non reply within the period prescribed in Regulations
3 | Replacement of meters | LT Rs.25 per day of delay maximum Rs.2,500 and HT Rs. 250 per day of delay maximum of Rs. 5,000/-
4 | Interruption of supply | LT Rs.25 for every 6 hrs. of delay maximum of Rs.500 and HT Rs. 50 for every 6 hrs. delay maximum Rs. 1000
5 | Voltage fluctuations and complaints | Rs.50 for failure to visit or convey findings within the stipulated period
6 | Responding to consumers complaints | Rs. 25 for each day of delay maximum Rs. 500
7 | Grievance Handling | Rs. 25 for failure in handling grievance.
| TOTAL :- |  | …NIL… | ……NIL…..