## SOP-1
Name of Distribution Licensee:DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Performa - SoP 001: Fatal and Non-fatal accident report
DGVCL
NUMBER OF ACCIDENTS FOR THE QUARTER
Sr.No | Name of Area/Circle | No of accidents in the quarter |  |  |  |  | Cumulative since the first quarter of the current FY
|  | Departmental |  | Outside |  |  | Department |  | Outside
|  | FH | NFH | FH | FA | NFH | FH | NFH | FH | FA | NFH
1 | Surat City | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
2 | Surat Rural | 1 | 3 | 7 | 3 | 2 | 1 | 3 | 7 | 3 | 2
3 | Bharuch | 0 | 2 | 4 | 4 | 3 | 0 | 2 | 4 | 4 | 3
4 | Valsad | 0 | 0 | 6 | 1 | 3 | 0 | 0 | 6 | 1 | 3
DGVCL | TOTAL | 1 | 5 | 17 | 8 | 9 | 1 | 5 | 17 | 8 | 9
FH - Fatal Human, FA - Fatal Animal. NFH - Non-fatal Human
02 nos accident occurred in private premises (FHO-2)
Note on N12: DNF TO DF CONVERTED BHARUCH

## SOP-02 HLY (hidden)
Name of Distribution Licensee: | [6 empty] | DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
| Year : | 2024-25
Performa - Sop 002 :- Action Taken Report for safety measures complied for the accidents occurred
Sr. No. | Location of Accident and Details of the victim | Name of circle | Division | Sub-division | Date of occurred | village | Type of Accident | Cause of Accident | Findings of CEI/ EI /AEI | Remedies suggested by CEI / EI / AEI in Various Cases | Whether the remedy suggested is complied | Action taken to avoid recurrence of such accident | Amount Paid As compensation | Date of compensation paid
1 | 2 |  |  |  | 3 |  | 4 | 5 | 6 | 7 | 8 | 9 | 10
1 | Soyeb Sajjad Malek | VALSAD | NAVSARI RURAL | Maroli | 27.4.24 | Dabhel | FHO | On Dated 27.04.2024, At Before 11:15 Am, At Accident Place 1 Nos Of LT Pole Available, From That Pole Unauthorized 1 Nos Of 2.5 Mm2 Charged Flexible Copper Wire Is Bring Down And Passed To Hanif Husain Mansur,S Home. When Victim Doing Work Of Polishing Pipes And Arranging Near LT Pole The Break Unauthorized Wire Is Touched With Pipes And Victim Got Shocked And Fall Down On Pipes. The Victim Got Burn On His Both Arms, Neck And On Face. So Arranging Local Vehicle And Shifted Victim To Gardee Charitable Hospital, Dabhel, Where Dr. On Duty Declare Victim Death. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
2 | PARESH RAVJI GURKUD | VALSAD | VAPI RURAL | VAPI RURAL | 18.4.24 | AMBACH | NFHO | A outsider human non fatal accident occurred on dt:-18.04.2024 at approx 22:15:00.Victim was under the influence of alchohol and climbed the transformer centre of ambach bavisha faliya and came under HT induction zone. Due to this reason he fall down on ground. Victim was immediately shifted to CHC Pardi and from there taken to civil hospital valsad. As per discussion with doctor he had major burns on right hand side of his hand and minor burns on left hand side of his hand. There was tripping of 11 KV Patharpuja JGY at 22:15:00, around the time accident. During site visit hand prints were found on the transformer and grasses of nearby area were burned. The victim is a laborer came to ambach bavisha faliya for Mandap Decoration. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
3 | HITESHBHAI REVABHAI BHARVAD | Bharuch | ANKLESHWAR (Rural) | NETRANG | 2.4.24 | NERANG | FA | As Per The Site Visit It Is Concluded That At The Site Of Accident, Dead Cow Was Found Near Appox. 5 Feet Away From LT Pole. LT Stay Set Was Found Loose And Wrap With LT Pole. In Addition To That, End Portion Of Stay Set Lying Near Ground Level. When Victim Cow Was Grassing Near LT Pole And Its Horn May Be Came Contact With Loose Stay Set And Tangle Around It. Due To Movement Of Loose Stay Set, Upper Portion Of It May Came In Contact With Conductor And Linkage Current May Have Passed And The Cow Which Was Grassing In This Area At That Time May Came In The Contact With This Low Voltage Linkages Current And May Have Experienced The Electric Shock. | Awaited | Proper maintenance work required | YES | Proper maintenance work carried out
4 | DHANSUKHBHAI H.PATEL | Surat R | VYARA | NIZAR | 14.5.24 | VYAVAL | FHD | WHILE UNBINDING CONDUCTOR OF BROCKEN HT POLE RETURN POWER OF OTHER FEEDERCAME AND VICTIM GOT ELECTROCUTED | Awaited | Safety awareness training given to line staff. | YES | Safety awareness training given to line staff.
5 | U A PATEL | Bharuch | BHARUCH CITY | PANCHBATTI | 8.5.24 | BHARUCH | NFD(M) | NEW HT CONDUCTOR STRINGING WORK ACTIVITY ON 11 KV SHAKTINATH FEEDER WAS ARRANGE BY PANCHBATTI SDN. AS PER ALM STATEMENT WHILE DOING HT LINE STRINGING WORK VICTIM WAS CLIMBING ON NAKED RSJ POLE AT ABOVE LOCATION AFTER CLIMBING ABOVE HALF POLE VICTIM SLIPPED FROM POLE AND LAID DOWN ON EARTH. SUDDENLY LINE STAFF TAKE HIM TO SEVASHRAM HOSPITAL FOR FIRST AUID TREATMENT AND THERE AFTER SHIFTED TO APEX MULTI SPECIALITY HOSPITAL | Awaited | Safety awareness training given to line staff. | YES | Safety awareness training given to line staff.
6 | BHARATBHAI RAMANBHAI TADVI | Bharuch | BRH R | VAGRA | 14.5.24 | Vagra | NFD(E) | On dated 14.05.2024, there was a low/dim voltage complaint at the site LT side connection was loose, for its rectification the employee Shri Bharatbhai isolated transformer by removing its DO wire and fuse from the distribution box. During work on TC, Bharatbhai’s right hand unknowingly may come in contact with live upper portion of the DO part, thereof he got electric shock and hence, electrical accident happened. | Awaited | Safety awareness training given to line staff. | YES | Safety awareness training given to line staff.
7 | Sureshbhai Pravinbhai Jadva | Surat R | Surat Rural | Kosad | 17.5.24 | Kosad | FHO | Outsider fatal human accident occurred to labour shri Suresh Pravin Jaduva may got electrocuted near house no 158, Bapa sitaram society, Kosad, Surat. There is a 3 ph ABC LT line of 11 KV Kosad T fdr supplying power to Bapa sitaram society Residence, A LT shackle RSJ pole is there at the incidence location and the a guy wire from that RSJ pole is tightened with the nearby tree. LT ABC jumper might have been touched with fabrication of the RSJ pole and at that leakage current might have been passed from RSJ pole and that guy wire. At the incidence place bart wire fencing is there and bart wire of fencing is also tightened with same tree and with was in touch with the guy wire at where the leakage current might have been passed and due to that leakage current bart wire fencing energised and mean while a victim was playing at there and came in connected with that bart wire of fencing and got electrocuted. A victim was admitted to Silver hospital near Kosad Town but doctor declared him dead. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
8 | DARASING NURJIBHAI NAIK | Surat R | VYARA | KUKARMUNDA | 29.5.24 | PANIBARA | FHO | SOMEHOW VICTIM CAME IN CONTACT WITH EARTH WIRE OF LIVE LT LINE BROKEN POLE WHOSE WHERE OPEN INSULATED LT CONDUCTOR TOUCHED WITH LT FABRICATION. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
9 | KATATA JAGDISHBHAI KANTIBHAI | Surat R | Kim | MOTA BORASARA | 8 | Mota Borasara | FHO | ON DT 08.05.2024 APPROX TIME 08:30 AM GETTING TELEPHONIC INFORMATION FROM UNKNOW PERSON AT SUB DIVISION COMPLIAN CENTRE NUMBER SO SITE VISIT DONE BY DE AND JE MOTA BORASARA SDN AND AS PER GETTING INFORMATION AND EYE WITTNESS STATEMENT VICITM WAS WORK FOR CIVIL CONSTRUCTION AT 1ST FLOOR OF BLOCK NO 141 POLT NO 01 AND 1A OLAMPIYA GALI MOTA BORASARA HAVING SS PLATE IN THIS HAND AT THAT TIME SS PALTE UNKNOWINGLY CAME IN TO CONTACT WITH LIVE CONDUCTOR OF 11 KV MUKESH FEEDER AND DUE TO THAT VICITIM GOT ELECTRIC CURRENT VICITIM WAS IMMEDIATELY TRANSFERRED AND ADMITTED BY LOCAL PERSONS AT SADHAN HOSPITAL KIM FOR FURTHE TREATMENT AND DOCTOR DECLARED HIM DIED. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
10 | BEHERA SHIBA RANKA | Surat R | Surat Rural | Laskana | 27 | Laskna | FHO | A Complaint From Plot No 378 Kal 2 Of Neutral Current Was Received And Complaint Was Registered Vide Complaint No 12 At Laskana Sdn Office .Linstaff Has Checked Location And They Have Found Leakage Current In Neutral So To Find Cause Of Leakage Current They Have Checked Capacitor Installed At Pl Gf 378 Kal 2And Lind Staff Switched Off MCB Of Capacitor And No Any Leakage Current Found In Neutral.So It Can Be Said That Due To Faulty Capacitor Leakage Current Might Flow Through Internal Wiring Of Premises And All Machinery Of Premises Of Pl No 377 To 383 And Meanwhile Victim Might Have Touched Machine Situated At First Floor Of Pl No 381 Kal 2 ,So Gor Electrocuted And Died. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
11 | Mukeshbhai Dalpatbhai rathod | Bharuch | BRH R | VAGRA | 2 | Vagra | FHO | On dated 02.5.24 at around 12:13 hrs, the victim was standing on the top of loaded truck, the truck parked under existing 11 KV SARAN AG line, while unloading materials from the truck ,the victim comes in contact with live 11KV line and thereof he gets electrocuted | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
12 | Shri Suleman Alibhai Jat | Bharuch | BRH R | VAGRA | 29 | Vagra | FHO | On dated 29.05.24 at around 08:50 hrs, the victim was driving truck, during turning/reversing of overloaded truck with Salt for parking or moving, 11 KV Aladra Salt feeder’s one phase conductor may came in contact with Salt, thereof back tyre of the vehicle start smoking and then the victim tried to get out from the vehicle, he got electric shock and fallen down out of the vehicle. Thus, the victim got electrocuted. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
13 | SHRI ANKURKUMAR RAMESHBHAI PATEL | Valsad | DHARAMPUR | RONVEL | 02 | JUJWA | FHO | victim Ankurkumar Rameshbhai patel came into accidental contact/induction zone while trying to bring down the ramnavmi flage fitted with steel pipe from terrace to the graound with 11kv jujwa jgy feeder(posible). | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
14 | 1. BALKRISHNA KIRITBHAI GAMIT | Surat R | Bardoli | Madhi | 20 | Sejvad | NFHO-1 | As per telephonic message from Contractor labour Mukeshbhai A. Chaudhari,(Age-40 years today on date 20.05.2024 approx 14:44 hrs) to departmental line staff Shri Bhikhubhai Dhangar victim was got shock and fell down from pole during New Connection TASP Scheme work of 11KV Sejvad AG Feeder. During climbing on the pole his hands touched HT wire and got electrocuted and he fell down from pole as he got Electrical shock. Victim was taken for primary treatment at Sardar Hospital Bardoli by departmental staff by 108 emergency service. Further investigation is Pending. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
15 | 1)SHREE KISHORBHAI KANTIBHAI VASAVA 2) SHREE JAYESHBHAI ARJUNBHAI VASAVA | Bharuch | ANK R | GADKHOL | 29 | AMBOS | NFHO | AT VILLAGE RANDERI 66KV RANDERI SUB DIVISION NR.BRITANIA COMPANY. ZAGHADIYA GIDC ROAD VICTIMS WERE GOING TOWARD DHAROLI CHOKADI THOUGH ZAGHADIYA GIDC ROADBY THEIR BIKE DUE TO HEAVY WIND FLOW 11 KV CONDUCTOR OF JITALI AG FEEDER BROKEN AND LAID ON ROAD SUDDENLY VICTIMS BIKE COME IN CONTACT WITH BROKEN CONDUCTOR OF 11KV JITALI AG FEEDER AND THEIR BIKE SLIP AND GOT INJURED AND THEY WERE ADIMTED AT VALIYA PHC FOR FURTHER TREATMENT | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
16 | Chaturbhai Bhanibhai Gamit | Bharuch | Ank Ind | Ank East | 22 | Bhadkodra | NFHO | On dated 23.05.24 at around 09:45 hrs, the victim was providing metal bar to the other person standing on the roof and due to lost balance, around 18.6 feet long bar touched 22kv kosamdi JGY feeder and victim got electrocuted | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
17 | Shyamlal Nagjibhai Chauhan | Bharuch | Ank Ind | Ank GIDC | 21 | Ankleshwar GIDC | NFHO | on dated 21.05.24 at around 10.30.00 THE PRIMARY INFORMATION GATHERED FROM THEEMPLOY OF LAXMI WOOD BY TELEPHONE IN OUR COMPLAIN CENTRE THAT ONETRUCK DRIVER WAS ELECTROCUTED AT LAXMII WOOD .AFTER INFORMATION RECEIVED HAVE CHECKED FEEDER STATUS WITH SUB STATION STAFF.WE FOUND THAT THE FEEDER WAS ON FAULT SO OUR TEAM WAD=S REACHED AT THE LOCATION AND INFORMATION WAS RECIEVED THAT ONE BIG TREE BRANCH WAS ALREADY FALLING ON THE TRUCK ROOF AND SAME WAS TOUCHED THE OVERHEAD 22KV LINE OF THE OLD NATIONAL HIGHWAY FEEDER NO 132 11 DUE TTR | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
18 | Dineshbhai Bobanbhai Kukna | Valsad | valsad RURAL | BILIMORA ATALIYA | 15.5.24 | VANKAL | NFHO | Victim was Doing construction related workat Gavtambhai Budhabhai Patel House. During the constructionwastage was fallen on roof of neighbour thakorbhai budhabhai patel house. For clearing the westage victim went on roof. Hence he got electrolucated. Due to which11 KV Vankal Ag feeder tripped .victim was burnt on chest side of body.He was shifted to spandan hospital. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
19 | 1)Sunilbhai Sampatbhai sable (cow-2) 2)Sureshbhai baburavbhai bahiram(bullock-1) | Valsad | WAGHAI | AHWA | 16.5.24 | CHINCHALI | FA-3 | As per eye witness statement, Due to heavy wind and cyclone on dated 16/05/2024 evening, One conductor of 11 KV Chinchali JGY snapped.Cows of owner went for grazzing the grass where came in contact with broken conductor and died on the spot. | Awaited | Proper maintenance work required | YES | Proper maintenance work carried out | 0.45 | 29.6.2024
20 | Machhindranath Vasantbhai Gulale | Surat R | Surat Rural | Yogichowk | 22.6.24 | Puna | NFHD | On dated 22.06.2024 at say 11:15 am approximately information received from shri M V Gulale ALM Yogichowk Sdn that he met with an accident at the shiv shakti vi-1 500 kva tc switch while attending no power complain of pl no 299 shiv shakti soc vi-1.While checking at house no 299 they have identified that there is no power due to missing of neutral from pole. To solve this victim say to co staff (Electrical assistant) to remained there and he will infrom them regarding switching of power from 200 A switch and make local earthing to same switch. After this co staff (Electrical assistant) solved the complain and came down from the pole and call the victim who was standing near the switch. Co staff asked victim to remove the local earthing and turn on the switch. As soon as the victim turn on the switch through plier, sudden flash over happned in internal side of switch and it makes up to temporary burns on some parts of face and some portion of right hand index finger of victim. | Awaited | Safety awareness training given to line staff. | YES | Safety awareness training given to line staff.
21 | Kantibhai Virabhai Chaudhari | Surat R | Kim | Kathor | 7 | Velanja | NFHD | At The Time Around 00.30 Am. There Is A Complaint Of No Power In Ramvatika Vibhag 3. Night Staff Shri. Kamlesh Nayka EA , Shri. Sandip Chaudhry EA And Shri. Kantibhai Chaudhry ALM Were Reached At The Location. They Found No Power In Vibhag 3 Houses. They Checked The Breaker First Where Power Is Found Ok Then They Were Petrolling The LT ABC Line And Found Jumper Burnt On The LT Pole Which Is 100 Mtr Away From 500 Kva Tc Of Vibhag3. There Is A Breaker ( 1 Incoming,300A , 3 Outgoing 115 A, 70A, 70A) On 500 Kva TC. 2 Nos Of LT Circuit Is Connected In An Outgoing Breaker In 70A And 70A. 2 Eas Were Standing Near The Pole And Kantibhai Was Trying To Cut The Power By Isolating The Breaker Switch. He Turned Off 1 Circuit Which Is On The Right Side. Then After He Was Trying To Isolate Another Circuit ,But Flashover And Blast Occurred At The Time Of Isolating. The Feeder Was Tripped And 2 Nos ( Y And B Phase) Of DO Blown Out Too On 500 Kva TC At The Time Of Incident. He Wore Hand Gloves And White Eye Glasses. His Eyes And Hands Are In Good Condition, So He Is Out Of Danger. But Face Skin Burnt Due To Flash Over Due To Non Use Of Face Shield. He Is Admitted In Dinbandhu Hospital For Further Treatment. Flash Over May Be Occurred Due To Mechanism Failure Of Breaker In Load Condition. | Awaited | Safety awareness training given to line staff. | YES | Safety awareness training given to line staff.
22 | Vimalbhi Arvindbhi patel | Surat R | KADODARA | KAMREJ RURAL | 1.6.24 | Navagam | NFHD | Victim was engaged in tree cutting activities on the ground, utilizing a pruning saw. During the process, a tree branch unexpectedly fell from above, causing the victim's grip on the saw to loosen. In an attempt to avoid the falling branch, he turned to the side, lost balance, and fell to the ground, resulting in their body weight being placed on their left wrist. he had experienced pain in their left wrist and sought medical attention at a hospital. Currently, their condition is stable. | Awaited | Safety awareness training given to line staff. | YES | Safety awareness training given to line staff.
23 | Vishalbhai Pareshbhai Rathod | Surat R | Bardoli | Madhi | 30 | Timbarva | FHO | As per news received about the accident on dtd.30.06.2024 from TV news channel.On dtd. 01.07.2024 site is visited by officers from and staff of Madhi sub division.There is no any body of victim is present at site.At site the LT service cable laid for the AG connection of Shree Prabhubhai Amidas was found touching to the fencing wire due to weight of tree branch fallen cable may be due to heavy wind and rain.Cable insulation was found damaged at contact point with fencing wire due sharp edge of fencing wire.Though this damaged portion of cable the current may be spread on the fencing and the victim may be got electric shock thorugh the fencing wire | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
24 | ANILBHAI BHUKHIYBHAI GAMIT | Surat R | VYARA | SONGADH | 22 | CHAPALDHARA | FHO | VICTIM CLIMB ON TREE AND CONTACTED WITH LIVE HT LINE | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
25 | Bhavnaben Suraj bogati | Surat R | KADODARA | PALSANA | 21 | Bangalow 104,sanskruti greenland,Baleshwar | FHO | A fatal electrical accident occurred on private property involving an individual named Bhavnaben Suraj Bogati. The incident took place behind PL 104 Greenland Resort in Baleshwar. The victim was engaged in drying clothes after washing them and had utilized an iron wire tied between a private helozen fabrication pole and a nearby tree. Unfortunately, due to a leakage from the iron wire via the helozen fabrication pole, the victim came into contact with an electrical current, resulting in electrocution and subsequent death. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
26 | MAHENDRA RATILAL VASAVA | Bharuch | RAJPIPLA | RAJPARDI | 30 | RAJPARDI | FHO | Nuetral wire fall down up to 4-5 feet from ground, it was happen in front of victim.s house, while passing under fallon nutralwire, victim was electrode and acident happen | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
27 | Kamleshkumar yadav | Bharuch | ANK IND | ANK GIDC | 18 | GIDC, ANKLESHWAR | FHO | The primary information gathered from the unknown person by telephonic on officer cug number one truck driver was electrocuted near seven water tank After information received we have checked feeder status with sub station staff. We found feeder was on fault so our team was moved to location for check and reached at location and found one truck driver was unconscious situation and 108 team was trying to provide emergency treatment to him but after some time 108 team was declare him to dead. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
28 | RAMCHARAN KANIYA REKWAR | Valsad | VAPI RURAL | DUNGRA | 30 | KARWAD | FHO | A outsider human ( Truck driver) fatal accident occurred on dt:30.06.2024 at approx 15:00 hrs. Victim was climed on container of truck under 11 KV HT line at Milestone industrial park near reliable packaging industries. He came under HT line induction zone. Due to this was fall down on container truck upper side. Same time rain is also coming. After this incident someone is informed to policew and medical ambulance and they declared as dead. There is no tripping found on 11 KV Milestone Industrial feeder at tentative 15:00 hrs. The victim is truck dirver | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
29 | VISHALBHAI RAMDASBHAI PAWAR | Valsad | WAGHAI | AHWA | 10 | KHAMBHALA | FHO | DUE TO HEAVY WIND AND CYCLONE ON DATED 09.06.2024 EVENING, DUE TO HEAVY WIND PRESSURE BIG BRANCH OF TREE FALL ON EXISTING HT LINES HENCE, ONE HT PSC PIN POLE BROKEN OF 11 KV PIPALDAHAD JGY FEEDER AND LAYED DOWN IN THE FARM OF SHRI MOTIYABHAI KONJYABHAI PAWAR VILL. KHAMBHALA. AT MIDNIGHT, ONE TAPPING D.O. BLOWN OFF AND OTHER TWO PHASES REMAIN LIVE.VICTIM WAS GONE FOR GOAT GRASSING AND PASSING NEAR BROKEN POLE.HE MAY BE CONTACT LIVE PHASE WIRE AND ELECTROCUTED AND DIED ON THE SPOT. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
30 | Prakashbhai Babubhai Rathod | Valsad | valsad RURAL | BILIMORA ATALIYA | 24 | Hond | FHO | Grampanchayat has illegally provided twin core street lights on DGVCL LT pole & using power supply from ww connection no. 05448018181. Victim was doing work of Street light twin core erectionwork and replacemnt of faulty street lihts. While victim was doing above said workon load side of ww connectionusing laddar , hecome in to contact with live neutral of twin core cable . | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
31 | Udaysinh Jasvantsinh Ravat | Valsad | valsad RURAL | Khergam | 26 | Kochwada | FHO | On 26/06/2024 , st abot 18:00 hours , the labous of contractor M/S Dhwani Engineeringare working for erecting mid span poles without intimetion to SDO or any staff of khergam sdn. They are working there assuming that the HT line is AG lineand power would be off after 15:00 hrs. however it is 11 KV Kochwada JGY feeder and live line. So while erecting pole it s touched with live conducctor and got electrocuted . He is immediately admitted to nearest CHC center st Atgam where after chectingdoctor has declared as dead Pm is Awaited | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
32 | Shri RAJABABU YADAV | SURAT CITY | SURAT IND DIV | SACHIN IND 1 | 28 | SACHIN | NFHO | WE received complaint on DGVCL Sachin Ind-1 S/dn. Complain centre mobile no (9879201187) at 18:00 pm date 28.06.2024 that someone electro cuted in Laxmi Textile Park, so at that time shift in charge attend complain near Laxmi Textile Park reached at incident place plot no 219, Laxmi Textile Park, GIDC, Sachin. Shree Rajababu Yadav victim who support the forklift which was shifted from plot 219 to other place with help of crane, same time crane upper side boom coming in zone of 11 KV Gulshan Feeder conductor due to this current passed through crane via cane belt which was in wet condition due to rainy reason passed through forklift, Rajababu Yadav (victim) electrocuted due to this reason. This accident occurred due to negligence of victim. Also they were not inform to DGVCL about this shifting work at Sachin Ind S/dn. Live conductor of 11 KV Gulshan Feeder cleavage from ground is OK as per the DGVCL Safety norm. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
33 | Ranjit Siyalal Patel | Surat R | Surat Rural | Laskana | 26 | Kholwad | NFHO | At plot no. 207 Amrut udhyog nagar-1, victim and his colleague were shifting the 4 MTR long aluminium strip(divider) which is used in embroidery Machine from ground floor to 4th floor and during the shifting of this strip, victim was holding strip at second floor and another person was moving to fourth floor and at that time somehow victim got imbalance with strip and one end of the strip might have been touched with live part of the transformer structure at that location and another end of the strip is in the hand of the victim with the support of iron grill at the balcony of the 2nd floor. So victim got electrocuted. Victim has burnt injury to his right hand and other part of the body. Victim was immediately shifted to Din Bandhu Hospital at vill.kholvad, kamrej and right now victim's health is stable. At the time of incident Tripping of 11KV Amrut ind feeder was recorded at 13:15 with the B-ph earth fault relay indication. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
34 | AJITBHAI VALUBHAI BARIYA | Valsad | WAGHAI | ANAVAL | 24 | ANAVAL | NFHO | ON DT.-24.06.2024 A 19 YEAR OLD VICTIM SHRI AJITBHAI VALUBHAI BARIYA LABOUR OF NIDHI BUILDERS (WORK ORDER FOR CONSTRUCTION OF COMPOUND WALL, CONTROL ROOM AT 66KV ANAVAL SUB STATION) CLIMBED ON NEWLY CONSTRUCTED 2 METER COMPOUND WALL OF 66KV ANAVAL SS TO PLUCKING JAMBOO WITH IRON ROD TOUCHED Y-PHASE OF 11KV ANGALDHARA AG FEEDER & SOMEHOW VICTIM GOT ELECTROCUTED & FALL FROM COMPOUND WALL TO GROUND & 108 AMBULANCE PICK HIM TO ANAVAL CHC FOR FURTHER TREATMENT. | Awaited | safety awareness among general public required | YES | safety awareness among general public carried out by distributing pamphlets, hoardings, sms, newspaper etc
35 | MAKHABHAI AMBABHAI BHARWAD | Surat R | Kim | KOSAMBA | 29 | TARSADI | FA-4 | One conductor of 11 KV Kuvarda AG fdr was found broken at the above mentioned location.The conductor is broken in such a way that live conductor hangs from the V-Cross Arm Pin towards the ground but does not touch the ground.AG feeder was on up to 03:00 pm as perschedule as per eye witness statement 4 Nos she bubuffaloes of owner Makhabhai Ambabhai Bharwad were passed near above mentioned location and that time all she buffaloes came in contact with live conductor and get electrocuted. | Awaited | Proper maintenance work required | YES | Proper maintenance work carried out
36 | SUBHASH MULJI VASAVA | Surat R | Bardoli | UMARPADA | 14 | DIVTAN | FA | One cow were grazing the grass in the forest area at. Divtan village and tree branch fallen on HT line resulted conductor was hanging between two pole . it was came in contact might be the cause of current flowing through the conductor wire which the cow came in contact and fatal animal accident to above place | Awaited | Proper maintenance work required | YES | Proper maintenance work carried out
37 | SANJAYBHAI NARANBHAI PTEL | Surat R | VYARA | VALOD | 24 | VIRPOR | FA | LEAKAGE CURRENT IN TRANSFORMER NUTRAL | Awaited | Proper maintenance work required | YES | Proper maintenance work carried out
38 | 2 NOS OF SHE BUFFELOW OF SALIMBHAI SULEMAN KAPCHA | Bharuch | BHARUCH CITY | BHARUCH RURAL | 23 | MANUBER | FA | DUE TO HEAVY WIND AND RAIN SEPERATELY NEUTRAL CONDUCTOR OF LT ABC WAS PROVIDED OF 11 KV VAHALU JGY WAS SNAPPED AND FALLEN ON GROUND MEANWHILE APPROX 7 BUFFELOWS WERE GONE OUT FOR GRAZING, OUT OF THAT TWO BUFFELOWS CAME NEAR TO SNAPPED NEUTRAL CONDUCTOR AND CAME IN CONTACT WITH THAT CONDUCTOR AND SUDDENLY 2 SHE BUFFELOWS GOT ELECTROCUTED AND DIED ON THE SPOT. | Awaited | Proper maintenance work required | YES | Proper maintenance work carried out
39 | PATEL ISMAIL ALI UMARAJI | Bharuch | BHARUCH R | jambusar t | 10.06.2024 | ASHIYANA SOCIETY | FA | fatal animal electric accident tp 01 no. of she cow was grazing near to the LT rsj pole which is covered with HDPE pipe for safety purpose height of 6 feet from bottom,near ashiyana society in jambusar area.on rsj pole has crow nest made with conductive wire.due to rain and wind crow nest got wet and make electric path between lt phase and lt rsj pole.cow came into contact with wet soil and got electrocuted and died at site. | Awaited | Proper maintenance work required | YES | Proper maintenance work carried out
40 | NATVARBHAI MAGANBHAI TADVI | Bharuch | RAJPIPLA | CHIKDA | 8 | KEVDI | FA | Shri. Natvarbhai Maganbhai Tadvi was going with his bullock cart at Vill-Kevdi. Meanwhile, horn of one bullock stuck with the stay wire of Shackle pole of 11kv Ambavadi JGY feeder and the stay wire moved from its actual position and came in contact with the live jumper of 11kv Ambavadi JGY feeder and got electrocuted. And died on the spot. | Awaited | Proper maintenance work required | YES | Proper maintenance work carried out

## SOP-03 B
Name of Distribution Licensee:DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Performa SoP 003 B: |  | Register For Compiling The Complaints Classificationwise
DGVCL
Classification | Pending complaints of previous month | Complaints received during the month. | Total Complaints |  |  |  | Balance Complaints to be redressed. (4) – (9) |  |  | Pending complaints of previous month | Complaints received during the month. | Total Complaints | No. of Complaints redressed during the month. |  |  |  |  | Balance Complaints to be redressed. (4) – (9) |  | Pending complaints of previous month | Complaints received during the month. | Total Complaints | No. of Complaints redressed during the month. |  |  |  |  | Balance Complaints to be redressed. (4) – (9) | Pending complaints of previous month | Complaints received during the month. | Total Complaints | No. of Complaints redressed during the month. |  |  |  |  | Balance Complaints to be redressed. (4) – (9)
[6 empty] | Total (5) to (8) | [6 empty] | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8) | [5 empty] | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8) |  |  |  |  | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8)
|  |  |  | Within stipulated time. | Beyond stipulated time | [7 empty] | Within 50% of stipulated time. | Within stipulated time. | Up to double the stipulated time | More than double the stipulated time | [6 empty] | Within 50% of stipulated time. | Within stipulated time. | Up to double the stipulated time | More than double the stipulated time | [5 empty] | Within 50% of stipulated time. | Within stipulated time. | Up to double the stipulated time | More than double the stipulated time
1 | 2 | 3 | 4=2+3 | 5 | 6 | 7=5+6 | 8=7-4
A(I to V) | 0 | 217300 | 217300 | 217300 | 0 | 217300 | 0 |  | A(i) | 0 | 19476 | 19476 | 15218 | 4258 | 0 | 0 | 19476 | 0 | A(i) | 0 | 11884 | 11884 | 887 | 10997 | 0 | 0 | 11884 | 0 | 0 | 185 | 185 | 111 | 74 | 0 | 0 | 185
B( I to V) | 0 | 6131 | 6131 | 6131 | 0 | 6131 | 0 |  | A(ii) | 0 | 394 | 394 | 152 | 242 | 0 | 0 | 394 | 0 | A(ii) | 0 | 7835 | 7835 | 586 | 7249 | 0 | 0 | 7835 | 0 | 0 | 927 | 927 | 741 | 186 | 0 | 0 | 927
C( I to VI) | 0 | 26615 | 26615 | 26615 | 0 | 26615 | 0 |  | A(iii) | 0 | 97 | 97 | 95 | 2 | 0 | 0 | 97 | 0 | A(iii) | 0 | 4289 | 4289 | 1009 | 3280 | 0 | 0 | 4289 | 0 | 0 | 453 | 453 | 274 | 179 | 0 | 0 | 453
D ( I to II) | 0 | 13567 | 13567 | 13567 | 0 | 13567 | 0
E (I to IV) | 0 | 13212 | 13212 | 13212 | 0 | 13212 | 0
F(I to IX) | 0 | 17200 | 17200 | 17200 | 0 | 17200 | 0 |  | B(i) |  |  |  |  | 0 |  |  | 0 |  | B(i) | 0 | 21 | 21 | 5 | 16 | 0 | 0 | 21 | 0 | 0 | 1636 | 1636 | 1472 | 164 |  |  | 1636
G | 0 | 1804 | 1804 | 1804 | 0 | 1804 | 0 |  | B(ii) |  |  |  |  | 0 |  |  | 0 |  | B(ii) | 0 | 17 | 17 | 0 | 17 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
H | 0 | 3355 | 3355 | 3355 | 0 | 3355 | 0
I | 0 | 0 | 0 | 0 | 0 | 0 | 0
J | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C(i) | 0 | 434 | 434 | 231 | 203 | 0 | 0 | 434 |  | C(i) | 0 | 3160 | 3160 | 871 | 2289 | 0 | 0 | 3160 | 0 | 0 | 315 | 315 | 189 | 126 | 0 | 0 | 315
TOTAL | 0 | 299184 | 299184 | 299184 | 0 | 299184 | 0 | [11 empty] | TOTAL | 0 | 27206 | 27206 | 3358 | 23848 | 0 | 0 | 27206 | 0
Classification | Pending complaints of previous month | Complaints received during the month. | Total Complaints |  |  |  | Balance Complaints to be redressed. (4) – (9)
Total (5) to (8)
|  |  |  | Within stipulated time. | Beyond stipulated time
1 | 2 | 3 | 4=2+3 | 5 | 6 | 7=5+6 | 8=7-4
A(i) | 0 | 68168 | 68168 | 68168 | 0 | 68168 | 0
A(ii) | 0 | 118272 | 118272 | 118272 | 0 | 118272 | 0
A(iii) | 0 | 30860 | 30860 | 30860 | 0 | 30860 | 0
A(iv)
A(V)
B(i) | 0 | 3067 | 3067 | 3067 | 0 | 3067 | 0
B(ii) | 0 | 3064 | 3064 | 3064 | 0 | 3064 | 0
B(iii)
B(iv)
B(v)
C(i) | 0 | 20392 | 20392 | 20392 | 0 | 20392 | 0
C(ii) | 0 | 6223 | 6223 | 6223 | 0 | 6223 | 0
C(iii)
C(iv)
C(v)
C(vi)
D(i) | 0 | 11173 | 11173 | 11173 | 0 | 11173 | 0
D(ii) | 0 | 2394 | 2394 | 2394 | 0 | 2394 | 0
E(i) | 0 | 7570 | 7570 | 7570 | 0 | 7570 | 0
E(ii) | 0 | 5642 | 5642 | 5642 | 0 | 5642 | 0
E(iii)
E(iv)
F(i) | 0 | 2976 | 2976 | 2976 | 0 | 2976 | 0
F(ii) | 0 | 2602 | 2602 | 2602 | 0 | 2602 | 0
F(iii) | 0 | 6094 | 6094 | 6094 | 0 | 6094 | 0
F(iv) | 0 | 5528 | 5528 | 5528 | 0 | 5528 | 0
F(v)
F(vi)
F(vii)
F(viii)
F(ix)
G | 0 | 1804 | 1804 | 1804 | 0 | 1804 | 0
H | 0 | 3355 | 3355 | 3355 | 0 | 3355 | 0
I
J
TOTAL | 0 | 299184 | 299184 | 299184 | 0 | 299184 | 0
Classification | Pending complaints of previous month | Complaints received during the month. | Total Complaints | No. of Complaints redressed during the month. |  |  |  |  | Balance Complaints to be redressed. (4) – (9)
|  |  |  | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8)
|  |  |  | Within 50% of stipulated time. | Within stipulated time. | Up to double the stipulated time | More than double the stipulated time
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A(i) | 0 | 68168 | 68168 | 19033 | 49135 | 0 | 0 | 68168 | 0
A(ii) | 0 | 118272 | 118272 | 40988 | 77284 | 0 | 0 | 118272 | 0
A(iii) | 0 | 30860 | 30860 | 20401 | 10459 | 0 | 0 | 30860 | 0
B(i) | 0 | 3067 | 3067 | 647 | 2420 | 0 | 0 | 3067 | 0
B(ii) | 0 | 3064 | 3064 | 268 | 2796 | 0 | 0 | 3064 | 0
C(i) | 0 | 20392 | 20392 | 4945 | 15447 | 0 | 0 | 20392 | 0
C(ii) | 0 | 6223 | 6223 | 860 | 5363 | 0 | 0 | 6223 | 0
D(i) | 0 | 11173 | 11173 | 3334 | 7839 | 0 | 0 | 11173 | 0
D(ii) | 0 | 2394 | 2394 | 519 | 1875 | 0 | 0 | 2394 | 0
E(i) | 0 | 7570 | 7570 | 2674 | 4896 | 0 | 0 | 7570 | 0
E(ii) | 0 | 5642 | 5642 | 631 | 5011 | 0 | 0 | 5642 | 0
F(i) | 0 | 2976 | 2976 | 564 | 2412 | 0 | 0 | 2976 | 0
F(ii) | 0 | 2602 | 2602 | 641 | 1961 | 0 | 0 | 2602 | 0
F(iii) | 0 | 6094 | 6094 | 1259 | 4835 | 0 | 0 | 6094 | 0
F(iv) | 0 | 5528 | 5528 | 2163 | 3365 | 0 | 0 | 5528 | 0
G | 0 | 1804 | 1804 | 717 | 1087 | 0 | 0 | 1804 | 0
H | 0 | 3355 | 3355 | 515 | 2840 | 0 | 0 | 3355 | 0
TOTAL | 0 | 299184 | 299184 | 100159 | 199025 | 0 | 0 | 299184 | 0

## SOP-3 (hidden)
Performa SoP 003 B:
APPENDIX-B (already in the SoP regulation)
REGISTER FOR COMPILING THE COMPLAINTS CLASSIFICATIONWISE
Quarter of the year: ………………………………………………..
NAME OF OFFICE: |  | Surat Circle
Surat Circle
Classification | Pending complaints of previous month | Complaints received during the month. | Total Complaints | No. of Complaints redressed during the month. |  |  |  |  | Balance Complaints to be redressed. (4) – (9)
|  |  |  | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8)
|  |  |  | Within 50% of stipulated time. | Within stipulated time. | Up to double the stipulated time | More than double the stipulated time
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A(i) | 0 | 19443 | 19443 | 12469.55 | 6973.45 | 0 | 0 | 19443 | 0
A(ii) | 0 | 6469 | 6469 | 1008.4 | 5460.6 | 0 | 0 | 6469 | 0
A(iii) | 0 | 2790 | 2790 | 1125.55 | 1664.45 | 0 | 0 | 2790 | 0
B(i) | 0 | 86 | 86 | 46.35 | 39.65 | 0 | 0 | 86 | 0
B(ii) | 0 | 10 | 10 | 0 | 10 | 0 | 0 | 10 | 0
C(i) | 0 | 4897 | 4897 | 1538.6 | 3358.4 | 0 | 0 | 4897 | 0
C(ii) | 0 | 1207 | 1207 | 724.45 | 482.55 | 0 | 0 | 1207 | 0
D(i) | 0 | 625 | 625 | 347.35 | 277.65 | 0 | 0 | 625 | 0
D(ii) | 0 | 9 | 9 | 1.3 | 7.7 | 0 | 0 | 9 | 0
E(i) | 0 | 814 | 814 | 109.8 | 704.2 | 0 | 0 | 814 | 0
E(ii) | 0 | 912 | 912 | 624.35 | 287.65 | 0 | 0 | 912 | 0
F(i) | 0 | 968 | 968 | 407.95 | 560.05 | 0 | 0 | 968 | 0
F(ii) | 0 | 418 | 418 | 58.8 | 359.2 | 0 | 0 | 418 | 0
F(iii) | 0 | 137 | 137 | 59.4 | 77.6 | 0 | 0 | 137 | 0
F(iv) | 0 | 760 | 760 | 432.25 | 327.75 | 0 | 0 | 760 | 0
G | 0 | 52 | 52 | 15.15 | 36.85 | 0 | 0 | 52 | 0
H | 0 | 70 | 70 | 48 | 22 | 0 | 0 | 70 | 0
TOTAL |  | 39667 | 39667 | 19017.25 | 20649.75 | 0 | 0 | 39667 | 0
Surat ®
Classification | Pending complaints of previous month | Complaints received during the month. | Total Complaints | No. of Complaints redressed during the month. |  |  |  |  | Balance Complaints to be redressed. (4) – (9)
|  |  |  | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8)
|  |  |  | Within 50% of stipulated time. | Within stipulated time. | Up to double the stipulated time | More than double the stipulated time
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A(i) | 0 | 1525 | 1525 | 837 | 688 | 0 | 0 | 1525 | 0
A(ii) | 0 | 608 | 608 | 260 | 348 | 0 | 0 | 608 | 0
A(iii) | 0 | 113 | 113 | 35 | 78 | 0 | 0 | 113 | 0
B(i) | 0 | 12 | 12 | 8 | 4 | 0 | 0 | 12 | 0
B(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
C(i) | 0 | 2921 | 2921 | 1037 | 1884 | 0 | 0 | 2921 | 0
C(ii) | 0 | 958 | 958 | 586 | 372 | 0 | 0 | 958 | 0
D(i) | 0 | 91 | 91 | 8 | 83 | 0 | 0 | 91 | 0
D(ii) | 0 | 7 | 7 | 0 | 7 | 0 | 0 | 7 | 0
E(i) | 0 | 722 | 722 | 50 | 672 | 0 | 0 | 722 | 0
E(ii) | 0 | 673 | 673 | 469 | 204 | 0 | 0 | 673 | 0
F(i) | 0 | 865 | 865 | 341 | 524 | 0 | 0 | 865 | 0
F(ii) | 0 | 366 | 366 | 25 | 341 | 0 | 0 | 366 | 0
F(iii) | 0 | 61 | 61 | 10 | 51 | 0 | 0 | 61 | 0
F(iv) | 0 | 665 | 665 | 363 | 302 | 0 | 0 | 665 | 0
G | 0 | 31 | 31 | 0 | 31 | 0 | 0 | 31 | 0
H | 0 | 70 | 70 | 48 | 22 | 0 | 0 | 70 | 0
Surat(U)
Classification | Pending complaints of previous month | Complaints received during the month. | Total Complaints | No. of Complaints redressed during the month. |  |  |  |  | Balance Complaints to be redressed. (4) – (9)
|  |  |  | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8)
|  |  |  | Within 50% of stipulated time. | Within stipulated time. | Up to double the stipulated time | More than double the stipulated time
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A(i) | 0 | 12000 | 12000 | 9600 | 2400 | 0 | 0 | 12000 | 0
A(ii) | 0 | 500 | 500 | 400 | 100 |  |  | 500 | 0
A(iii) | 0 | 1000 | 1000 | 800 | 200 |  |  | 1000 | 0
B(i) | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
B(ii) | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
C(i) | 0 | 250 | 250 | 200 | 50 |  |  | 250 | 0
C(ii) | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
D(i) | 0 | 100 | 100 | 80 | 20 |  |  | 100 | 0
D(ii) | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
E(i) | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
E(ii) | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
F(i) | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
F(ii) | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
F(iii) | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
F(iv) | 0 | 50 | 50 | 40 | 10 |  |  | 50 | 0
G | 0 | 10 | 10 | 8 | 2 |  |  | 10 | 0
H | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
Surat(I)
Classification | Pending complaints of previous month | Complaints received during the month. | Total Complaints | No. of Complaints redressed during the month. |  |  |  |  | Balance Complaints to be redressed. (4) – (9)
|  |  |  | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8)
|  |  |  | Within 50% of stipulated time. | Within stipulated time. | Up to double the stipulated time | More than double the stipulated time
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A(i) | 0 | 3127 | 3127 | 2032.55 | 1094.45 | 0 | 0 | 3127 | 0
A(ii) | 0 | 536 | 536 | 348.4 | 187.6 | 0 | 0 | 536 | 0
A(iii) | 0 | 447 | 447 | 290.55 | 156.45 | 0 | 0 | 447 | 0
B(i) | 0 | 59 | 59 | 38.35 | 20.65 | 0 | 0 | 59 | 0
B(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
C(i) | 0 | 464 | 464 | 301.6 | 162.4 | 0 | 0 | 464 | 0
C(ii) | 0 | 213 | 213 | 138.45 | 74.55 | 0 | 0 | 213 | 0
D(i) | 0 | 399 | 399 | 259.35 | 139.65 | 0 | 0 | 399 | 0
D(ii) | 0 | 2 | 2 | 1.3 | 0.7 | 0 | 0 | 2 | 0
E(i) | 0 | 92 | 92 | 59.8 | 32.2 | 0 | 0 | 92 | 0
E(ii) | 0 | 239 | 239 | 155.35 | 83.65 | 0 | 0 | 239 | 0
F(i) | 0 | 103 | 103 | 66.95 | 36.05 | 0 | 0 | 103 | 0
F(ii) | 0 | 52 | 52 | 33.8 | 18.2 | 0 | 0 | 52 | 0
F(iii) | 0 | 76 | 76 | 49.4 | 26.6 | 0 | 0 | 76 | 0
F(iv) | 0 | 45 | 45 | 29.25 | 15.75 | 0 | 0 | 45 | 0
G | 0 | 11 | 11 | 7.15 | 3.85 | 0 | 0 | 11 | 0
H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Vyara
Classification | Pending complaints of previous month | Complaints received during the month. | Total Complaints | No. of Complaints redressed during the month. |  |  |  |  | Balance Complaints to be redressed. (4) – (9)
|  |  |  | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8)
|  |  |  | Within 50% of stipulated time. | Within stipulated time. | Up to double the stipulated time | More than double the stipulated time
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A(i) | 0 | 1508 | 1508 | 0 | 1508 | 0 | 0 | 1508 | 0
A(ii) | 0 | 2687 | 2687 | 0 | 2687 | 0 | 0 | 2687 | 0
A(iii) | 0 | 801 | 801 | 0 | 801 | 0 | 0 | 801 | 0
B(i) | 0 | 15 | 15 | 0 | 15 | 0 | 0 | 15 | 0
B(ii) | 0 | 10 | 10 | 0 | 10 | 0 | 0 | 10 | 0
C(i) | 0 | 835 | 835 | 0 | 835 | 0 | 0 | 835 | 0
C(ii) | 0 | 36 | 36 | 0 | 36 | 0 | 0 | 36 | 0
D(i) | 0 | 35 | 35 | 0 | 35 | 0 | 0 | 35 | 0
D(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F(iii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F(iv) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bardoli
Classification | Pending complaints of previous month | Complaints received during the month. | Total Complaints | No. of Complaints redressed during the month. |  |  |  |  | Balance Complaints to be redressed. (4) – (9)
|  |  |  | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8)
|  |  |  | Within 50% of stipulated time. | Within stipulated time. | Up to double the stipulated time | More than double the stipulated time
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A(i) | 0 | 1283 | 1283 | 0 | 1283 | 0 | 0 | 1283 | 0
A(ii) | 0 | 2138 | 2138 | 0 | 2138 | 0 | 0 | 2138 | 0
A(iii) | 0 | 429 | 429 | 0 | 429 | 0 | 0 | 429 | 0
B(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
C(i) | 0 | 427 | 427 | 0 | 427 | 0 | 0 | 427 | 0
C(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
D(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
D(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F(iii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F(iv) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## SOP-4
Name of Distribution Licensee:DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Performa SoP 004:Publicity Carried Out
DGVCL
Sr. No(1) | Actions or steps carried out by distribution licensee towards public awareness in the quarter(2) | Likely number of consumers influenced(3) | Details about media(4)
1 | Display board of Name of information officers under RTI Act 2005 at Circle,Division,Sub- division offices. | 40000 | Notice Board at office building
2 | On DGVCL company Web site | 60000 | Internet
3 | Through Daily News Paper | 350000 | Print advertise related to customer oriented services like safety awareness due to kite festival
4 | Through Regular Energy Bill | 900000 | Energy Bill
5 | Through Radio Media | 350000 | Safety awareness due to kite festival & awarness program for digital payment

## SOP-5
Name of Distribution Licensee:DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Perform a SoP 005: Failure of Distribution Transformer
DGVCL
Sr. No. | No. of existing Distribution Transformer at the start of the quarter / year | no. of Distribution Transformers added during. the quarter / year | Total number of Distribution Transformers | Total number of Distribution Transformers failed | %failure rate of Distribution Transformer
| A | B | C=A+B | D | H= (D)*100/C
1 | 207520 | 6721 | 214241 | 3051 | 1.424%
Note on E6: take it from cea report or from DE6 tms(only of current qtr)

## 014 (hidden)
Performa SoP 014: Statement Showing the ATC losses, collection efficiency and Billing Efficiency
Quarter | Months | Units input | Units Billed (MUs) | Billing Efficiency | Revenue Billed (Rs. Lacs) | Revenue Collected (Rs. Lacs) | Collection Efficiency % | Business Efficiency | ATC Loss%
(MUs)
|  | A | B | C = (B/A)*100 | D | E | F = (E/D)*100 | G = (C*F)/100 | H = 100 - G
I | April |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
| May |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
| June |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
II | July
August
September
III | October
November
December
IV | January
February
March
Note: The format is to be sent half yearly
Half yearly reporting in the year means Reporting for the period 1st April – 30th September of the year as first six months/ first half of the year and 1st October – 31st March of the year as the second six months/second half in the financial year.

## sop-8 (hidden)
Name of Distribution Licensee:
ANNUAL REPORT (i.e JAN'13 TO MAR'13)
Year :2011-12
Performa SoP 008: Sample Test result for Neutral Voltage
Compliance Sample Test Report for Neutral Voltage | [5 empty] | Compliance Sample Test Report for Neutral Voltage
-1 | -2 | -3 | -4 | -5 | -6 | -1 | -2 | -3 | -4 | -5 | -6
Sr. No | Category of consumers | Sample Size | Standard specified in regulation | Deviation of results from the sample test (Numbers) | % age compliance | Sr. No | Category of consumers | Sample Size | Standard specified in regulation | Deviation of results from the sample test (Numbers) | % age compliance
Compliance Sample Test Report for Neutral Voltage -3: (Numbers); Compliance Sample Test Report for Neutral Voltage -6: (6) = (5)*100/(3) |  |  | (Numbers) |  |  | (6) = (5)*100/(3)
Compliance Sample Test Report for Neutral Voltage -2: LT consumers |  | LT consumers
1 | Domestic | 1635 | 2% | NIL |  | 1 | Domestic | 1635 | 2% | NIL
2 | Commercial | 427 | 2% | NIL |  | 2 | Commercial | 427 | 2% | NIL
3 | Industrial | 580 | 2% | NIL |  | 3 | Industrial | 580 | 2% | NIL
4 | Agricultural | 121 | 2% | NIL |  | 4 | Agricultural | 121 | 2% | NIL
5 | Public water works | 56 | 2% | NIL |  | 5 | Public water works | 56 | 2% | NIL
Compliance Sample Test Report for Neutral Voltage -2: HT consumers; Compliance Sample Test Report for Neutral Voltage -3: 0; Compliance Sample Test Report for Neutral Voltage -5: NIL |  | HT consumers | 0 |  | NIL
6 | HT industrial | 10 | 2% |  |  | 6 | HT industrial | 10 | 2%
Surat
Compliance Sample Test Report for Neutral Voltage
[6 empty] | -1 | -2 | -3 | -4 | -5 | -6
[6 empty] | Sr. No | Category of consumers | Sample Size | Standard specified in regulation | Deviation of results from the sample test (Numbers) | % age compliance
[8 empty] | (Numbers) |  |  | (6) = (5)*100/(3)
[7 empty] | LT consumers |  | 2%
[6 empty] | 1 | Domestic | 540 | 2% | NIL
[6 empty] | 2 | Commercial | 283 | 2% | NIL
[6 empty] | 3 | Industrial | 485 | 2% | NIL
[6 empty] | 4 | Agricultural | 42 | 2% | NIL
[6 empty] | 5 | Public water works | 42 | 2% | NIL
[7 empty] | HT consumers | 0 |  | NIL
[6 empty] | 6 | HT industrial | 10 | 2%
Valsad
Compliance Sample Test Report for Neutral Voltage
[6 empty] | -1 | -2 | -3 | -4 | -5 | -6
[6 empty] | Sr. No | Category of consumers | Sample Size | Standard specified in regulation | Deviation of results from the sample test (Numbers) | % age compliance
[8 empty] | (Numbers) |  |  | (6) = (5)*100/(3)
LT consumers
[6 empty] | 1 | Domestic | 408 | 2% | 0 | 100
[6 empty] | 2 | Commercial | 20 | 2% | 0 | 100
[6 empty] | 3 | Industrial | 19 | 2% | 0 | 100
[6 empty] | 4 | Agricultural | 17 | 2% | 0 | 100
[6 empty] | 5 | Public water works | 5 | 2% | 0 | 100
HT consumers
[6 empty] | 6 | HT industrial | 0 | 2% | 0 | #DIV/0!
Bharuch
Compliance Sample Test Report for Neutral Voltage
[6 empty] | -1 | -2 | -3 | -4 | -5 | -6
[6 empty] | Sr. No | Category of consumers | Sample Size | Standard specified in regulation | Deviation of results from the sample test (Numbers) | % age compliance
[8 empty] | (Numbers) |  |  | (6) = (5)*100/(3)
LT consumers
[6 empty] | 1 | Domestic | 687 | 2% | 0 | 100
[6 empty] | 2 | Commercial | 124 | 2% | 0 | 100
[6 empty] | 3 | Industrial | 76 | 2% | 0 | 100
[6 empty] | 4 | Agricultural | 62 | 2% | 0 | 100
[6 empty] | 5 | Public water works | 9 | 2% | 0 | 100
[7 empty] | HT consumers | 0 |  | 0
[6 empty] | 6 | HT industrial | 0 | 2% | 0 | #DIV/0!

## sop-9 (hidden)
Name of Distribution Licensee:
ANNUAL REPORT (i.e JAN'13 TO MAR'13)
Year :2011-12
Performa SoP 009: Sample Test result for Voltage variations |  |  |  |  | Performa SoP 009: Sample Test result for Voltage variations
Compliance Sample Test Report for voltage variations |  |  |  |  | Compliance Sample Test Report for voltage variations
-1 | -2 | -3 | -4 | -5 | -1 | -2 | -3 | -4 | -5
Voltage Level | Sample Size (numbers) | Limit or prescribed standard | Deviation of results from the sample test (Numbers) | % age compliance | Voltage Level | Sample Size (numbers) | Limit or prescribed standard | Deviation of results from the sample test (Numbers) | % age compliance
|  |  |  | % age compliance |  |  |  |  | % age compliance
|  |  |  | (5) = (4)*100/(2) |  |  |  |  | (5) = (4)*100/(2)
Low Voltage | 1276 | +6% to -6% | NIL |  | Low Voltage | 1276 | +6% to -6% | NIL
High Voltage | 87 | +6% to -6% | NIL |  | High Voltage | 87 | +6% to -6% | NIL
Extra High Voltage |  | +10% to -10% |  |  | Extra High Voltage |  | +10% to -10%
Surat
Performa SoP 009: Sample Test result for Voltage variations
Compliance Sample Test Report for voltage variations
[5 empty] | -1 | -2 | -3 | -4 | -5
[5 empty] | Voltage Level | Sample Size (numbers) | Limit or prescribed standard | Deviation of results from the sample test (Numbers) | % age compliance
% age compliance
(5) = (4)*100/(2)
[5 empty] | Low Voltage | 578 | +6% to -6% | NIL
[5 empty] | High Voltage | 25 | +6% to -6% | NIL
[5 empty] | Extra High Voltage | 0 | +10% to -10%
Valsad
Performa SoP 009: Sample Test result for Voltage variations
Compliance Sample Test Report for voltage variations
[5 empty] | -1 | -2 | -3 | -4 | -5
[5 empty] | Voltage Level | Sample Size (numbers) | Limit or prescribed standard | Deviation of results from the sample test (Numbers) | % age compliance
% age compliance
(5) = (4)*100/(2)
[5 empty] | Low Voltage | 301 | +6% to -6% | 0 | 100
[5 empty] | High Voltage | 14 | +6% to -6% | 0 | 100
[5 empty] | Extra High Voltage | 0 | +10% to -10% | 0 | 100
Bharuch
Performa SoP 009: Sample Test result for Voltage variations
Compliance Sample Test Report for voltage variations
[5 empty] | -1 | -2 | -3 | -4 | -5
[5 empty] | Voltage Level | Sample Size (numbers) | Limit or prescribed standard | Deviation of results from the sample test (Numbers) | % age compliance
% age compliance
(5) = (4)*100/(2)
[5 empty] | Low Voltage | 397 | +6% to -6% | 0 | 100
[5 empty] | High Voltage | 48 | +6% to -6% | 0 | 100
[5 empty] | Extra High Voltage |  | +10% to -10%

## sop-10 (hidden)
Name of Distribution Licensee:
ANNUAL REPORT (i.e JAN'13 TO MAR'13)
Year :2011-12
Performa SoP 010: Sample Test result for Harmonics | [5 empty] | Performa SoP 010: Sample Test result for Harmonics
Compliance Sample Test Report for Harmonics | [5 empty] | Compliance Sample Test Report for Harmonics
-1 | -2 | -3 | -4 | -5 | -6 | -1 | -2 | -3 | -4 | -5 | -6
Sr. No | Category of consumers | Sample size (Numbers) | Limit or standard prescribed | Deviation of results from the sample test (Numbers) | %age compliance | Sr. No | Category of consumers | Sample size (Numbers) | Limit or standard prescribed | Deviation of results from the sample test (Numbers) | %age compliance
Compliance Sample Test Report for Harmonics -6: (6) = (5)*100/(3) | [5 empty] | (6) = (5)*100/(3)
1 | LT consumers | 525 | 3.5% | NIL |  | 1 | LT consumers | 525 | 3.5% | NIL
2 | HT consumers | 25 | 3% | NIL |  | 2 | HT consumers | 25 | 3% | NIL
3 | EHT consumers | 0 | 3% |  |  | 3 | EHT consumers | 0 | 3%
Surat
Performa SoP 010: Sample Test result for Harmonics
Compliance Sample Test Report for Harmonics
[6 empty] | -1 | -2 | -3 | -4 | -5 | -6
[6 empty] | Sr. No | Category of consumers | Sample size (Numbers) | Limit or standard prescribed | Deviation of results from the sample test (Numbers) | %age compliance
(6) = (5)*100/(3)
[6 empty] | 1 | LT consumers | 525 | 3.5% | NIL
[6 empty] | 2 | HT consumers | 25 | 3% | NIL
[6 empty] | 3 | EHT consumers | 0 | 3%
Valsad
Performa SoP 010: Sample Test result for Harmonics
Compliance Sample Test Report for Harmonics
[6 empty] | -1 | -2 | -3 | -4 | -5 | -6
[6 empty] | Sr. No | Category of consumers | Sample size (Numbers) | Limit or standard prescribed | Deviation of results from the sample test (Numbers) | %age compliance
(6) = (5)*100/(3)
[6 empty] | 1 | LT consumers | 0 | 3.5% | 0
[6 empty] | 2 | HT consumers | 0 | 3% | 0
[6 empty] | 3 | EHT consumers | 0 | 3% | 0
Bharuch
Performa SoP 010: Sample Test result for Harmonics
Compliance Sample Test Report for Harmonics
[6 empty] | -1 | -2 | -3 | -4 | -5 | -6
[6 empty] | Sr. No | Category of consumers | Sample size (Numbers) | Limit or standard prescribed | Deviation of results from the sample test (Numbers) | %age compliance
(6) = (5)*100/(3)
[6 empty] | 1 | LT consumers | 0 | 3.5% | 0 | #DIV/0!
[6 empty] | 2 | HT consumers | 0 | 3% | 0 | #DIV/0!
[6 empty] | 3 | EHT consumers | 0 | 3% | 0 | #DIV/0!

## SOP-6
Name of Distribution Licensee:DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Perform a SoP 006: Failure of Power Transformer
DGVCL
Sr. No. | No. of existing Distribution Transformer at the start of the quarter / year | no. of Distribution Transformers added during. the quarter / year | Total number of Distribution Transformers | Total number of Distribution Transformers failed | %failure rate of Distribution Transformer
| A | B | C=A+B | D | H= (D)*100/C
1 |  |  | 0 |  | #DIV/0!
* | Pertain to GETCO company
Note on E6: take it from cea report or from DE6 tms(only of current qtr)

## SOP 7 HLY (hidden)
Name of Distribution Licensee:
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Performa SoP 007: Sample Test result for Neutral Voltage
Compliance Sample Test Report for Neutral Voltage
1 | 2 | 3 | 4 | 5 | 6
Sr. No | Category of consumers | Sample Size | Standard specified in regulation | Non-Deviation of results from the sample test (Numbers) | % age compliance
|  | (Numbers) |  |  | (6) = (5)*100/(3)
LT consumers
1 | Domestic | 3370 | 2%
2 | Commercial | 980 | 2%
3 | Industrial | 619 | 2%
4 | Agricultural | 201 | 2%
5 | Public water works | 58 | 2%
HT consumers
6 | HT industrial | 44 | 2%

## SOP 8 HLY (hidden)
Name of Distribution Licensee:
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Performa SoP 008: Sample Test result for Voltage variations
Compliance Sample Test Report for voltage variations
1 | 2 | 3 | 4 | 5
Voltage Level | Sample Size (numbers) | Limit or prescribed standard | Non- Deviation of results from the sample test (Numbers) | % age compliance
% age compliance
(5) = (4)*100/(2)
Low Voltage | 8617 | +6% to -6% | NIL
High Voltage | 202 | +6% to -6% | NIL
Extra High Voltage | 0 | +10% to -10% | NIL

## SOP 9 HLY (hidden)
Name of Distribution Licensee:
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Performa SoP 009: Sample Test result for Harmonics
Compliance Sample Test Report for Harmonics
1 | 2 | 3 | 4 | 5 | 6
Sr. No | Category of consumers | Sample size (Numbers) | Limit or standard prescribed | Non-Deviation of results from the sample test (Numbers) | %age compliance
(6) = (5)*100/(3)
1 | LT consumers | 369 | 3.5% | NIL
2 | HT consumers | 9 | 3% | NIL
3 | EHT consumers | 0 | 3% | NIL

## SOP 10A SAIFI
SoP 010 – A System Average Interruption Frequnecy Index (SAIFI)
Name of Distribution Licensee: DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Category | Month | Number of Sustain Interruptions =Ai | Ni- Number of interrupted customers for Sustained Interruption events during the reporting period | Nt - total no of customers served | Total Number of Interupted Customers for Sustained Interruptions CI = ∑ (Ai x Ni) | SAIFI = CI / Nt
1 | 2 | 3 | 4 | 5 | 6 | 7 = 6 / 5
DGVCL
JGY | Apr'24 | 2512 | 1249128 | 1594961 | 6332692 | 3.9704
| May'24 | 5291 | 1355065 | 1575927 | 12572439 | 7.9778
| Jun'24 | 6216 | 1429408 | 1578087 | 16114248 | 10.2113
Other All | Apr'24 | 2427 | 1757182 | 2063495 | 5223086 | 2.5312
| May'24 | 4288 | 1817786 | 2097016 | 8306206 | 3.961
| Jun'24 | 5266 | 1862308 | 2086435 | 9232751 | 4.4251
Total | Apr'24 | 4939 | 3006310 | 3658456 | 11555778 | 3.1586
| May'24 | 9579 | 3172851 | 3672943 | 20878645 | 5.6844
| Jun'24 | 11482 | 3291716 | 3664522 | 25346999 | 6.9169
RAPDRP Total | Apr'24 | 745 | 1026497 | 1343693 | 3290337 | 2.4487
| May'24 | 1117 | 1060699 | 1352333 | 5174080 | 3.826
| Jun'24 | 1241 | 1067261 | 1335269 | 5016287 | 3.7568

## SoP 11 SAIDI
SoP 011 – B System Average Interruption Duration Index (SAIDI)
Name of Distribution Licensee: DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Sr. No | Month | Number of Sustain Interruptions ( Ai ) | Total Outage Duration | Ri = Restoration Time for each interruption event ( in event ) | Ni= Number of interrupted customers for Sustained Interruption events during the reporting period | Rix Ni = Total customer interruption Duration | Nt-Total Nos of Customers served ( in numbers) | Cumulative Customer Interruptions Duration CMI = ∑( ri x Ni) | SAIDI = ∑ri x Ni / Nt
|  | Nos | Hr : Min | Hr : Min | Nos | Hr : Min | Nos | Hr : Min | Hr : Min
1 | 2 | 3 | 4 | 5 = 4 / 3 | 6 | 7=5x6 | 8 | 9= ∑ (5x6) | 10 = 9 / 8
DGVCL
JGY | Apr'24 | 2512 | 1900-03-09 06:05 | 0.10578 | 1249128 | ****** | 1594961 | 2339-08-21 15:21 | 0.10068
| May'24 | 5291 | 1900-06-13 10:11 | 0.12332 | 1355065 | ****** | 1575927 | 350869.3352 | 0.22264
| Jun'24 | 6216 | 1900-08-05 20:06 | 0.12611 | 1429408 | ****** | 1578087 | 508042.0421 | 0.32194
Other All | Apr'24 | 2427 | 1900-03-24 02:46 | 0.14021 | 1757182 | ****** | 2063495 | 2248-08-02 20:58 | 0.061702
| May'24 | 4288 | 1900-06-09 15:34 | 0.14716 | 1817786 | ****** | 2097016 | 208618.3633 | 0.099483
| Jun'24 | 5266 | 1900-08-03 21:36 | 0.16622 | 1862308 | ****** | 2086435 | 252636.0235 | 0.12109
Total | Apr'24 | 4939 | 1900-06-01 08:51 | 0.24599 | 3006310 | ****** | 3658456 | 287896.5139 | 0.078693
| May'24 | 9579 | 1900-11-22 01:45 | 0.27047 | 3172851 | ****** | 3672943 | 559487.6985 | 0.15233
| Jun'24 | 11482 | 1901-03-10 17:42 | 0.29234 | 3291716 | ****** | 3664522 | 760678.0656 | 0.20758
RAPDRP Total | Apr'24 | 745 | 1900-01-22 06:09 | 0.13043 | 1026497 | ****** | 1343693 | 2129-04-17 16:49 | 0.062328
| May'24 | 1117 | 1900-01-31 10:39 | 0.11308 | 1060699 | ****** | 1352333 | 2251-06-15 05:40 | 0.094923
| Jun'24 | 1241 | 1900-02-15 02:27 | 0.1332 | 1067261 | ****** | 1335269 | 2330-08-17 23:14 | 0.11779

## SoP 12 MAIFI
SoP 012: Momentary Average Interruption Frequency Index (MAIFI) Quarter / year
Name of Distribution Licensee: DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Sr. No | Month | Total Number of Momentary interruptions (Imi) | Nmi - Total no of customers affected due to momentary interruptions | IMi * Nmi Number of customer Momentary interruptions | NT - Total no of customers served for the area | Cumulative Momentary Customer Interruptions = ∑ Imi x Nmi | MAIFI = ∑ Imi x Nmi / Nt
1 | 2 | 3 | 4 | 5=3x4 | 6 | 7=∑ (3x4) | 8 = 7 / 6
DGVCL
JGY | Apr'24 | 6379 | 1371062 | ***** | 1594961 | 15425118 | 9.6712
| May'24 | 10197 | 1406900 | ***** | 1575927 | 24721707 | 15.6871
| Jun'24 | 12553 | 1441603 | ***** | 1578087 | 31007981 | 19.6491
Other All | Apr'24 | 1708 | 1636635 | ***** | 2076743 | 3727373 | 1.7948
| May'24 | 2346 | 1691244 | ***** | 2095478 | 5352773 | 2.5544
| Jun'24 | 2999 | 1760599 | ***** | 2093722 | 6257709 | 2.9888
Total | Apr'24 | 8087 | 3007697 | ***** | 3671704 | 19152491 | 5.2162
| May'24 | 12543 | 3098144 | ***** | 3671405 | 30074480 | 8.1915
| Jun'24 | 15552 | 3202202 | ***** | 3671809 | 37265690 | 10.1491
RAPDRP Total | Apr'24 | 1031 | 768325 | ***** | 1343693 | 3365712 | 2.5048
| May'24 | 1463 | 848315 | ***** | 1352333 | 4682858 | 3.4628
| Jun'24 | 1448 | 899418 | ***** | 1335269 | 5038484 | 3.7734

## SoP 13 CAIDI
SoP 013 Customer Average Interruption Duration Index (CAIDI)
Name of Distribution Licensee: DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Category | Month | Total Number of Sustain Interruptions = ∑Ai | Total Restoration time for Interruption Events = ∑ Ri | Total Numer of Interupted Customers for Sustatined Interruption events = ∑Ni | CAIDI=∑(RixNi) /∑(AixNi) =SAIDI/SAIFI
1 | 2 | 3 | 4 | 5 | 6 = (4x5)/(3x5)
DGVCL
JGY | Apr'24 | 2512 | 0.10578 | 1249128 | 0.025357 | 160575.6399 | 6332692 | 0.025357 | 0.025357
| May'24 | 5291 | 0.12332 | 1355065 | 0.027908 | 350869.3352 | 12572439 | 0.027908 | 0.027908
| Jun'24 | 6216 | 0.12611 | 1429408 | 0.031528 | 508042.0421 | 16114248 | 0.031528 | 0.031528
Other All | Apr'24 | 2427 | 0.14021 | 1757182 | 0.024377 | 127320.8739 | 5223086 | 0.024377 | 0.024377
| May'24 | 4288 | 0.14716 | 1817786 | 0.025116 | 208618.3633 | 8306206 | 0.025116 | 0.025116
| Jun'24 | 5266 | 0.16622 | 1862308 | 0.027363 | 252636.0235 | 9232751 | 0.027363 | 0.027363
Total | Apr'24 | 4939 | 0.24599 | 3006310 | 0.024914 | 287896.5139 | 11555778 | 0.024914 | 0.024914
| May'24 | 9579 | 0.27047 | 3172851 | 0.026797 | 559487.6985 | 20878645 | 0.026797 | 0.026797
| Jun'24 | 11482 | 0.29234 | 3291716 | 0.030011 | 760678.0656 | 25346999 | 0.030011 | 0.030011
RAPDRP Total | Apr'24 | 745 | 0.13043 | 1026497 | 0.025453 | 83749.7005 | 3290337 | 0.025453 | 0.025453
| May'24 | 1117 | 0.11308 | 1060699 | 0.02481 | 128367.2362 | 5174080 | 0.02481 | 0.02481
| Jun'24 | 1241 | 0.1332 | 1067261 | 0.031355 | 157284.9677 | 5016287 | 0.031355 | 0.031355

## SoP 15
Name of Distribution Licensee:DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Pcrforma SoP 015: Meter faults
DGVCL
Consumer Category | No. of faulty meters at the start of the quarter / year (1) | No. of faulty meters added during the quarter / year (2) | Total no. of defective / faulty Meter (3)=(2)+(1) | No. of faulty Meters repaired and replaced (4) | No of faulty meters pending at the end of the quarter (5)=(3)-(4)
Single Phase | 78937 | 18975 | 97912 | 12838 | 85074 | 0
Three Phase | 26600 | 4724 | 31324 | 5240 | 26084
HT | 0 | 0 | 0 | 0 | 0

## SOP-16
Name of Distribution Licensee:DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Performa SoP 016: Compensation details
DGVCL
Sr. No | Event | Compensation payable to consumer for the period of default in case of violation of standard | Claimed |  | Payable
|  |  | No. of cases | Amount (Rs.0 | No. of cases in which compensation is payable | Amount payable(Rs.) | Amunt paid Rs.)
1 | Registration of complaint and intimation of Unique complaint Number to the Complaint | Rs. 50/- for each default | 0 | 0 | 0 | 0 | 0
2 | Issuance of Demand Note for New Connection, Load Enhancement, Shifting of connection at other premises, Conversion of Service, Temporary Supply, Shifting of Service Connection in exiting premises, Deviation of line and Shifting of equipments | Rs. 50/- for each day of default | 0 | 0 | 0 | 0 | 0
3 | New Connection, Load Enhancement, Shifting of connection at other premises and Conversion of Service where no Network erection and/or augmentation is required | Rs. 50 for each day of default. | 0 | 0 | 0 | 0 | 0
4 | New Connection, Load Enhancement, Shifting of connection at other premises and Conversion of Service where Network erection and/or augmentation is required. | Rs. 50 for each day of | 0 | 0 | 0 | 0 | 0
5 | Release of temporary supply | Rs. 50 for each day of | 0 | 0 | 0 | 0 | 0
6 | Shifting of meter/services in the existing premises | Rs. 50 for each day of | 0 | 0 | 0 | 0 | 0
7 | Shifting of LT/HT lines |  | 0 | 0 | 0 | 0 | 0
8 | Shifting of Transformer structures |  | 0 | 0 | 0 | 0 | 0
9 | Settlement of amount for refunding of excess amount after completion of work. |  | 0 | 0 | 0 | 0 | 0
10 | Transfer of Service Connection with respect to change of name or change of ownership | Rs. 50 for each day of default. | 0 | 0 | 0 | 0 | 0
11 | Application from consumer requesting Change in Tariff Class/Category. | Rs. 50 for each day of default. | 0 | 0 | 0 | 0 | 0
12 | Complaint Related to Billing | Rs. 50 for each day of default. | 0 | 0 | 0 | 0 | 0
13 | Replacement of Meter | Rs. 25/- for each day of default subject to maximum of Rs. 1500/- for LT connections and Rs. 250/- for each day of default subject to maximum of Rs. 2500/- for HT connections. | 0 | 0 | 0 | 0 | 0
14 | Reconnection of Supply | Rs. 25/- for each 6 (Six) hours (or part thereof) of delay in restoration of supply subject to maximum Rs. 500/- for LT connection and Rs. 50/- for each 6 (Six) hours (or part thereof) of delay in restoration of supply subject to maximum Rs. 1000/- for HT connection. | 0 | 0 | 0 | 0 | 0
15 | More than 2 interruptions in a day to the consumer for the reasons not attributable to the nature of fault as mentioned in Clause 8.4 of these Regulations. | Rs. 25/- for each interruption subject to maximum Rs. 500/- for LT connection and Rs. 50/- for each interruption subject to maximum Rs. 1000/- for HT connection. | 0 | 0 | 0 | 0 | 0
16 | Failure to restore power supply in case of blowing of fuse of LT side distribution transformer, at consumer premises, trouble of MCB of distribution transformer, loose connection at pole, MCB or meter, etc. | Rs. 50/- per hour per Consumer for the first 2 (Two) hours of default. Thereafter Rs. 100/- per hour per Consumer subject to maximum of Rs. 500/- per day for LT consumer and maximum of Rs. 2000/- per day for HT consumer. | 0 | 0 | 0 | 0 | 0
17 | Failure to restore power supply in case of blowing of HT side fuse of distribution transformer |  | 0 | 0 | 0 | 0 | 0
18 | Failure to restore power supply in case of HT and LT line fault |  | 0 | 0 | 0 | 0 | 0
19 | Failure to restore power supply in case of Distribution transformer failure |  | 0 | 0 | 0 | 0 | 0
20 | Failure to restore power supply in case of failure of underground service or underground HT/LT cable |  | 0 | 0 | 0 | 0 | 0
21 | Scheduled Power Outage | Rs. 50/- per hour per Consumer for the first 2 (Two) hours of default. Thereafter Rs. 100/- per hour per Consumer | 0 | 0 | 0 | 0 | 0
22 | Site Visit and Intimation to the Consumer about likely time to resolve the complaint related to voltage fluctuation. | Rs. 200/- for each instance for each complaint. | 0 | 0 | 0 | 0 | 0
23 | Complaint of Neutral Voltage | Rs. 250/- for each complaint | 0 | 0 | 0 | 0 | 0
24 | Complaint regarding Voltage variations at the point of commencement of supply. | Rs. 25/- for each day of default subject to maximum of Rs. 500/- | 0 | 0 | 0 | 0 | 0
TOTAL |  |  | 0 | 0

## SoP 17
Name of Distribution Licensee:DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Performa SoP 017: Individual Complaint where Compensation has been paid (To be submitted Quarterly)
| Sr. No. | Complaint No. | Date of filing Complaint/ Automatic Compensation | Consumer No. and Name and Address of the Consumer | Nature of Complaint | Reference Standard of Performance | Amount of compensation (Rs.) | Whether Compensation paid automatically or Consumer has to approach CGRF to get compensation | Whether CGRF has upheld demand of Consumer of Compensation and if Yes, date of order of CGRF and date of compensation paid
| 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0

## SoP 18
Name of Distribution Licensee:DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Performa SoP 018: Unauthorised Use of electricity (To be submitted Quarterly)
No. of cases booked | No. of cases where UUE is established by the Licensee | No. of cases where appeal filed by the consumer before the Appellate Authority | No. of cases decided by the Appellate Authority in favour of the Licensee | No. of cases decided by the Appellate Authority in favour of the consumer
197 | 197 | 56 | 0 | 0

## SoP 19
Name of Distribution Licensee:DGVCL
Quarter : 1st (i.e Apr '24 TO Jun '24)
Year : | 2024-25
Performa SoP 019: Theft of electricity (To be submitted Quarterly)
No. of cases booked | No. of complaints filed by the Licensee in Police Station | No. of cases in which judgment delivered by the Special Court | No. of cases decided by the Special Court in favour of Licensee | No. of cases decided by the Special Court in favour of Consumer
918 | 918 | 0 | 0 | 0

## mt check (hidden)
DGVCL | Year 2012-13 | [11 empty] | DGVCL | Year 2012-13
METER TESTING | Apl | May | June | Tested during the period | July | Aug | Sept | Tested during the period | Oct | Nov | Dec | Tested during the period | Apl | May | June | Pending for testing at the end of the period | July | Aug | Sept | Pending for testing at the end of the period | Oct | Nov | Dec | Pending for testing at the end of the period
Single Phase | 30210 | 19382 | 18914 | 68506 | 18089 | 16213 | 28881 | 63183 | 21300 | 14730 | 25851 | 61881 | 63702 | 41456 | 45616 | 150774 | 56291 | 53217 | 57505 | 167013 | 56991 | 49089 | 55767 | 161847
Three Phase | 1696 | 3315 | 2152 | 7163 | 2003 | 1689 | 2186 | 5878 | 2595 | 3556 | 2587 | 8738 | 4893 | 5139 | 3526 | 13558 | 3804 | 1491 | 3718 | 9013 | 4269 | 5271 | 3758 | 13298
HT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SURAT | [12 empty] | SURAT
METER TESTING | Apl | May | June | Tested during the period | July | Aug | Sept | Tested during the period | Oct | Nov | Dec | Tested during the period | Apl | May | June | Pending for testing at the end of the period | July | Aug | Sept | Pending for testing at the end of the period | Oct | Nov | Dec | Pending for testing at the end of the period
Single Phase | 10452 | 13570 | 8944 | 32966 | 11636 | 11319 | 15040 | 37995 | 6879 | 7484 | 12387 | 26750 | 19942 | 18449 | 17622 | 56013 | 22455 | 8238 | 7227 | 37920 | 15821 | 15985 | 13636 | 45442
Three Phase | 771 | 1618 | 1530 | 3919 | 1501 | 1455 | 1732 | 4688 | 1340 | 1297 | 1735 | 4372 | 2028 | 2756 | 2247 | 7031 | 2717 | 474 | 2085 | 5276 | 1413 | 1741 | 1565 | 4719
HT
VAL | [12 empty] | VAL
METER TESTING | Apl | May | June | Tested during the period | July | Aug | Sept | Tested during the period | Oct | Nov | Dec | Tested during the period | Apl | May | June | Pending for testing at the end of the period | July | Aug | Sept | Pending for testing at the end of the period | Oct | Nov | Dec | Pending for testing at the end of the period
Single Phase | 2925 | 3031 | 5317 | 11273 | 4480 | 3637 | 9423 | 17540 | 10522 | 4480 | 9204 | 24206 | 7459 | 12879 | 19072 | 39410 | 28018 | 33407 | 38784 | 100209 | 33354 | 27687 | 32266 | 93307
Three Phase | 564 | 1304 | 431 | 2299 | 151 | 163 | 358 | 672 | 496 | 1417 | 493 | 2406 | 1584 | 1410 | 682 | 3676 | 328 | 523 | 1162 | 2013 | 1142 | 2304 | 1321 | 4767
HT
BRH | [12 empty] | BRH
METER TESTING | Apl | May | June | Tested during the period | July | Aug | Sept | Tested during the period | Oct | Nov | Dec | Tested during the period | Apl | May | June | Pending for testing at the end of the period | July | Aug | Sept | Pending for testing at the end of the period | Oct | Nov | Dec | Pending for testing at the end of the period
Single Phase | 16833 | 2781 | 4653 | 24267 | 1973 | 1257 | 4418 | 7648 | 3899 | 2766 | 4260 | 10925 | 36301 | 10128 | 8922 | 55351 | 5818 | 11572 | 11494 | 28884 | 7816 | 5417 | 9865 | 23098
Three Phase | 361 | 393 | 191 | 945 | 351 | 71 | 96 | 518 | 759 | 842 | 359 | 1960 | 1281 | 973 | 597 | 2851 | 759 | 494 | 471 | 1724 | 1714 | 1226 | 872 | 3812
HT
DGVCL | Year 2012-13 | [11 empty] | DGVCL | Year 2012-13
Details of non-working defective meters | Apl | May | June | Added | July | Aug | Sept | Added | Oct | Nov | Dec | Added | Apl | May | June | Replaced / repaiared | July | Aug | Sept | Replaced / repaiared | Oct | Nov | Dec | Replaced / repaiared
Single Phase | 5793 | 5473 | 10014 | 21280 | 4817 | 7408 | 7012 | 19237 | 7065 | 8822 | 10938 | 26825 | 4236 | 5389 | 5107 | 14732 | 5358 | 6649 | 6355 | 18362 | 8921 | 7258 | 8510 | 24689
Three Phase | 1336 | 593 | 1556 | 3485 | 661 | 924 | 1279 | 2864 | 652 | 706 | 928 | 2286 | 705 | 643 | 556 | 1904 | 504 | 633 | 608 | 1745 | 684 | 700 | 742 | 2126
HT
SURAT
Details of non-working defective meters | Apl | May | June | Added | July | Aug | Sept | Added | Oct | Nov | Dec | Added | Apl | May | June | Replaced / repaiared | July | Aug | Sept | Replaced / repaiared | Oct | Nov | Dec | Replaced / repaiared
Single Phase | 1120 | 1496 | 1269 | 3885 | 1941 | 3119 | 2005 | 7065 | 2778 | 3747 | 7514 | 14039 | 1261 | 1647 | 1130 | 4038 | 1927 | 3119 | 2106 | 7152 | 3282 | 3476 | 4633 | 11391
Three Phase | 393 | 432 | 332 | 1157 | 355 | 395 | 403 | 1153 | 408 | 316 | 695 | 1419 | 385 | 407 | 298 | 1090 | 274 | 371 | 366 | 1011 | 398 | 319 | 480 | 1197
HT
VAL
Details of non-working defective meters | Apl | May | June | Added | July | Aug | Sept | Added | Oct | Nov | Dec | Added | Apl | May | June | Replaced / repaiared | July | Aug | Sept | Replaced / repaiared | Oct | Nov | Dec | Replaced / repaiared
Single Phase | 3410 | 2267 | 7319 | 12996 | 575 | 2039 | 2719 | 5333 | 1348 | 1879 | 767 | 3994 | 1453 | 1486 | 2720 | 5659 | 1745 | 1541 | 2159 | 5445 | 2724 | 1216 | 1157 | 5097
Three Phase | 874 | 107 | 1162 | 2143 | 140 | 303 | 680 | 1123 | 106 | 157 | 102 | 365 | 237 | 170 | 184 | 591 | 157 | 138 | 131 | 426 | 189 | 223 | 118 | 530
HT
BRH
Details of non-working defective meters | Apl | May | June | Added | July | Aug | Sept | Added | Oct | Nov | Dec | Added | Apl | May | June | Replaced / repaiared | July | Aug | Sept | Replaced / repaiared | Oct | Nov | Dec | Replaced / repaiared
Single Phase | 1263 | 1710 | 1426 | 4399 | 2301 | 2250 | 2288 | 6839 | 2939 | 3196 | 2657 | 8792 | 1522 | 2256 | 1257 | 5035 | 1686 | 1989 | 2090 | 5765 | 2915 | 2566 | 2720 | 8201
Three Phase | 69 | 54 | 62 | 185 | 166 | 226 | 196 | 588 | 138 | 233 | 131 | 502 | 83 | 66 | 74 | 223 | 73 | 124 | 111 | 308 | 97 | 158 | 144 | 399
HT

## Check Sop 13 (hidden)
SRT | Apl | May | June | TOTAL | Apl | May | June | TOTAL | JULY | AUG | SEP | TOTAL | JULY | AUG | SEP | TOTAL | Apl | May | June | TOTAL | Total MIS+RAPDRP
| Added |  |  |  | Replaced |  |  |  | Added |  |  |  | Replaced |  |  |  | Replaced
| As per MIS |  |  |  | As per MIS |  |  |  | As per MIS |  |  |  | As per MIS |  |  |  | As per RAPDRP
Single Phase | 1120 | 1496 | 1269 | 3885 | 1261 | 1647 | 1130 | 4038 | 1086 | 1232 | 1082 | 3400 | 3085 | 1226 | 1138 | 5449 | 2304 | 3345 | 2190 | 7839 | 11877
Three Phase | 393 | 432 | 332 | 1157 | 385 | 407 | 298 | 1090 | 320 | 279 | 355 | 954 | 290 | 249 | 324 | 863 | 54 | 198 | 172 | 424 | 1514
VAL | Apl | May | June | TOTAL | Apl | May | June | TOTAL | JULY | AUG | SEP | TOTAL | JULY | AUG | SEP | TOTAL | Apl | May | June | TOTAL
| Added |  |  |  | Replaced |  |  |  | Added |  |  |  | Replaced |  |  |  | Replaced
| As per MIS |  |  |  | As per MIS |  |  |  | As per MIS |  |  |  | As per MIS |  |  |  | As per RAPDRP
Single Phase | 3410 | 2267 | 7319 | 12996 | 1453 | 1486 | 2720 | 5659 | 564 | 692 | 737 | 1993 | 442 | 415 | 526 | 1383 | 863 | 914 | 316 | 2093 | 7752
Three Phase | 874 | 107 | 1162 | 2143 | 237 | 170 | 184 | 591 | 156 | 134 | 74 | 364 | 160 | 83 | 105 | 348 | 250 | 233 | 202 | 685 | 1276
BRH | Apl | May | June | TOTAL | Apl | May | June | TOTAL | JULY | AUG | SEP | TOTAL | JULY | AUG | SEP | TOTAL | Apl | May | June | TOTAL
| Added |  |  |  | Replaced |  |  |  | Added |  |  |  | Replaced |  |  |  | Replaced
| As per MIS |  |  |  | As per MIS |  |  |  | As per MIS |  |  |  | As per MIS |  |  |  | As per RAPDRP
Single Phase | 1263 | 1710 | 1426 | 4399 | 1522 | 2256 | 1257 | 5035 | 755 | 767 | 636 | 2158 | 569 | 558 | 450 | 1577 | 1140 | 2266 | 1306 | 4712 | 9747
Three Phase | 69 | 54 | 62 | 185 | 83 | 66 | 74 | 223 | 88 | 56 | 54 | 198 | 64 | 59 | 58 | 181 | 12 | 10 | 10 | 32 | 255
DGVCL | Apl | May | June | TOTAL | Apl | May | June | TOTAL | [8 empty] | Apl | May | June | TOTAL | Total MIS+RAPDRP
| Added |  |  |  | Replaced | [11 empty] | Replaced
| As per MIS |  |  |  | As per MIS | [11 empty] | As per RAPDRP
Single Phase | 5793 | 5473 | 10014 | 21280 | 4236 | 5389 | 5107 | 14732 | [8 empty] | 4307 | 6525 | 3812 | 14644 | 29376
Three Phase | 1336 | 593 | 1556 | 3485 | 705 | 643 | 556 | 1904 | [8 empty] | 316 | 441 | 384 | 1141 | 3045

## SOP-13 including Rapdrp (hidden)
Name of Distribution Licensee:DGVCL
#REF!
#REF!
Pcrforma SoP 013: Meter faults
DGVCL
Consumer Category | No. of faulty meters at the start of the quarter / year (1) | No. of faulty meters added during the quarter / year (2) | Total no. of defective / faulty Meter (3)=(2)+(1) | No. of faulty Meters repaired and replaced (4) | No of faulty meters pending at the end of the quarter (5)=(3)-(4) |  |  |  | SRT |  |  |  |  | VLD |  |  |  | BRH
Single Phase | 44686 | 21280 | 65966 | 29376 | 36590 |  | 24549 | 27393 | 51942 | 35726 | 16216 | 15609 | 14553 | 30162 | 22555 | 7607 | 9629 | 25572 | 35201 | 28722 | 6479
Three Phase | 2672 | 3479 | 6151 | 3045 | 3106 |  | 190 | 2575 | 2765 | 2221 | 544 | 696 | 838 | 1534 | 945 | 589 | 637 | 561 | 1198 | 743 | 455
HT | 0 | 12 | 12 | 12 | 0 |  | 0 | 9 | 9 | 9 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | JULY | [15 empty] | AUG | SEP | TOTAL | JULY | AUG | SEP | TOTAL
SURAT | [5 empty] | Added | [18 empty] | Replaced
Consumer Category | No. of faulty meters at the start of the quarter / year (1) | No. of faulty meters added during the quarter / year (2) | Total no. of defective / faulty Meter (3)=(2)+(1) | No. of faulty Meters repaired and replaced (4) | No of faulty meters pending at the end of the quarter (5)=(3)-(4) | [16 empty] | As per MIS |  |  | As per MIS
Single Phase | 9489 | 3885 | 13374 | 11877 | 1497 | 1086 | [15 empty] | 1232 | 1082 | 3400 | 3085 | 1226 | 1138 | 5449
Three Phase | 354 | 1157 | 1511 | 1514 | -3 | 320 | [15 empty] | 279 | 355 | 954 | 290 | 249 | 324 | 863
HT | 0 | 0 | 0 | 0 | 0
VALSAD | [5 empty] | JULY | [15 empty] | AUG | SEP | TOTAL | JULY | AUG | SEP | TOTAL
Consumer Category | No. of faulty meters at the start of the quarter / year (1) | No. of faulty meters added during the quarter / year (2) | Total no. of defective / faulty Meter (3)=(2)+(1) | No. of faulty Meters repaired and replaced (4) | No of faulty meters pending at the end of the quarter (5)=(3)-(4) | Added | [18 empty] | Replaced
Single Phase | 16443 | 12996 | 29474 | 7752 | 23815 | [16 empty] | As per MIS |  |  | As per MIS
Three Phase | 1299 | 2137 | 3436 | 1276 | 2845 | 564 | [15 empty] | 692 | 737 | 1993 | 442 | 415 | 526 | 1383
HT | 0 | 0 | 0 | 0 | 0 | 156 | [15 empty] | 134 | 74 | 364 | 160 | 83 | 105 | 348
BHARUCH | [5 empty] | JULY | [15 empty] | AUG | SEP | TOTAL | JULY | AUG | SEP | TOTAL
Consumer Category | No. of faulty meters at the start of the quarter / year (1) | No. of faulty meters added during the quarter / year (2) | Total no. of defective / faulty Meter (3)=(2)+(1) | No. of faulty Meters repaired and replaced (4) | No of faulty meters pending at the end of the quarter (5)=(3)-(4) | Added | [18 empty] | Replaced
Single Phase | 18754 | 4399 | 23153 | 9747 | 13406 | [16 empty] | As per MIS |  |  | As per MIS
Three Phase | 1019 | 185 | 1204 | 255 | 949 | 755 | [15 empty] | 767 | 636 | 2158 | 569 | 558 | 450 | 1577
HT | 0 | 12 | 12 | 12 | 0 | 88 | 56 | 54 | 198 | [12 empty] | 56 | 54 | 198 | 64 | 59 | 58 | 181

## EM Replacement
Name of Distribution Licensee:DGVCL
Quarter : 1st (i.e APR '24 TO JUNE '24)
Year :2024-25
Format for replacement of Electromechanical Meters with Static Meters
DISCOM | Total no. of Electromechanical meters at the start of the quarter | Total no. of Electromechanical meters replaced with static meters during the quarter | Electromechanical meters pending for replacement with Staic meters at the end of the quarter
DGVCL | 106254 | 5042 | 101212