## Table 1
Jubilant Infrastructure Limited
QUARTER : 3rd (October-2025 to December-2025)
YEAR :-2025-26
Performa - SOP 001 : Fatal and Non-fatal accident report for quarter ending .
Sr. No. | Name of area | No.of accidents in the quarter |  |  |  |  | Cumulative since the first quarter of the current FY year
|  | Departmental |  | Out side
|  | FH | NFH | FH | FA | NFH | FH | FA | NFH
1 | Jubilant Infrastructure Limited | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Table 2
Jubilant Infrastructure Limited
APPENDIX - B (already in the SoP regulation )
REGISTER FOR COMPILING THE COMPLAINTS CLASSIFICATIONWISE
Quarter of the year: (3rd) (Oct 2025- Dec 2025)
NAME OF OFFICE- Jubilant Infrastructure Limited
Classification | Pending complaint of previous quarter | Complaints received during the quarter | Total complaints | No.of complaints redressed during the Qtr |  |  |  |  | Balance complaints to be redressed (4) - (9) | Classification of complaint
|  |  |  | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8)
|  |  |  | Within 50% of stipulated time | Within stipulated time | Upto double the stipulated time | More than double the stipulated time
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Loose conn. from pole
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Int.due to line breakdown
A(iii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Interruption due to failure of transformer
B(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Ordinary case, which requires no augmentation
B(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Where augmentation is required
C(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Stopped/Defective Meters
C(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Billing on average basis for more than two bills
D(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Loose Wires
D(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Inadequate ground clearance
E(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | For current bills where no additional information is required
E(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Where additional information relating to correctness of reading etc. is required
F(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Where extension of mains is not required
F(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Where extension of mains is required
F(iii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Modification in connected load
F(iv) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Name change/reconnection
G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Refund of amount due in regard to temporary connection
H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Others (Power Fail from GETCO)
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Table 3
Jubilant Infrastructure Limited
QUARTER :- 3rd (Oct-2025 to Dec-2025)
YEAR :-2025-26
Performa SoP 004 : Publicity Carried Out
1 | 2 | 3 | 4
Through Regular Energy Bills | Through Website | Through Display Board | -

## Table 4
Jubilant Infrastructure Limited
QUARTER :-3rd (Oct-2025 to Dec-2025)
YEAR :-2025-26
Name of the complaint | Complaint Unique Number | Complaint Classification | Time & Date of 1st and 2nd meeting | Details of Redressal procedure carried out | Time & Date of 2nd meeting | Details of Redressal procedure carried out | Time & Date of 3rd meeting | Details of Redressal procedure carried out | Oredr in favour of Con /DL
Nil | Nil | Nil | 09/07/25 15:30 to 16:30 (1st Meeting) | Nil | Nil | Nil | Nil | Nil
Nil | Nil | Nil | 06/10/25 16:00 to 17:00 (2nd Meeting) | Nil | Nil | Nil | Nil | Nil

## Table 5
Jubilant Infrastructure Limited
QUARTER :-3rd (Oct-2025 to Dec-2025)
YEAR :-2025-26
Performa SoP 005 B: Action taken report by the Redressal Committee II
Sr. No. | Month | Date and time meeting conducted | No. of complaints registered at the meeting | No. of complaints pending at the end of the meeting | Nos of cases Disposed | Location of Hearing
1 | Oct.25 | Nil | Nil | Nil | Nil | Nil
2 | Nov.25 | Nil | Nil | Nil | Nil | Nil
3 | Dec.25 | Nil | Nil | Nil | Nil | Nil

## Table 6
Jubilant Infrastructure Limited
QUARTER :- 3rd (Oct -2025 to Dec -2025) YEAR :-2025-26 Performa SOP 006 : Failure of Distribution Transformer.
Sr. No. |  | Class | No. of existing Distribution transformer at the start of the quarter 01.10.2025 | No.of Distribution transformers added during the quarter | Total number of Distribution transformers As on 31.12.2025 | Total number of Distribution tranformer failed during the quarter | % failure rate of Distribution transformer during the quarter
|  |  | A | B | C=A+B | D | H= (D) * 100/C
Transformer of Jubilant Infrastructure Limited
1 | Jubilant Infrastructure Limited | 0 | 0 | 0 | 0 | 0 | 0
Transformer of Consumers
2 | INFRA | 11KV/0.433 KV | 2 | 0 | 2 | 0 | 0
3 |  | 11KV/0.400 KV | 1 | 0 | 1 | 0 | 0
4 | UNIT-1 | 11KV/0.400 KV | 1 | 0 | 1 | 0 | 0
5 |  | 11KV/0.433 KV | 2 | 0 | 2 | 0 | 0
6 |  | 11KV/3.3 KV | 2 | 0 | 2 | 0 | 0
7 |  | 11KV/0.433 KV | 6 | 0 | 6 | 0 | 0
8 | UNIT-4 | 11KV/0.433 KV | 3 | 0 | 3 | 0 | 0
9 | UNIT-2 | 11KV/0.433 KV | 2 | 0 | 2 | 0 | 0
10 | UNIT-3 | 11KV/0.433 KV | 1 | 1 | 2 | 0 | 0
Total |  |  | 20 | 1 | 21 | 0 | 0

## Table 7
Jubilant Infrastructure Limited
QUARTER : 3rd (Oct -2025 to Dec -2025)
YEAR :-2025-26
Performa - SOP 007 : Failure of Power Transformer
Sr. No. | Class | No. of existing Power transformer at the start of the quarter 01.10.2025 | No.of Power transformers added during the quarter | Total number of Power transformers As on 31.12.2025 | Total number of Distribution tranformer failed during the quarter | % failure rate of Distribution transformer during the quarter
Transformer of Jubilant Infrastructure Limited
1 | 66KV/ 11 KV | 2 | 0 | 2 | 0 | 0
2 | 33 KV/ 11 KV | 0 | 0 | 0 | 0 | 0
3 | 11 KV / 33 KV | 0 | 0 | 0 | 0 | 0
|  | 2 | 0 | 2 | 0 | 0

## Table 8
Jubilant Infrastructure Limited
QUARTER :- 3rd (Oct-2025 to Dec-2025)
YEAR :-2025-26
SoP 011 - A : System Average Interrruption Frequency Index (SAIFI)
Sr. No | Month | Ni - Number of Customers for each sustained interruptions (in numbers) | NT - Total No of customers served (in Numbers) | CI=∑ Ni | SAIFI = ∑ Ni/Nt (Monthly SAIFI)
1 | 2 | 3 | 4 | 5 | 6=5/4
1 | Oct.25 | 0 | 5 | 0 | 0
2 | Nov.25 | 0 | 5 | 0 | 0
3 | Dec.25 | 0 | 5 | 0 | 0
| Month | Ri = Restoration Time for each sustained interruption event (in hours) | Ni - Number of interrupted Customers for each sustained interruption event (in numbers) | Ri* Ni - Total customer interrution Duration | NT - Total No of customers served (in Numbers) | Customer Intt. Duration CMI = ΣRi*Ni | SAIDI = ΣRi*Ni/Nt (Monthly SAIDI)
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | Oct.25 | 0 | 0 | 0 | 5 | 0 | 0
2 | Nov.25 | 0 | 0 | 0 | 5 | 0 | 0
3 | Dec.25 | 0 | 0 | 0 | 5 | 0 | 0
SoP 011 - C : Momentary Average Interruption Frequency Index (MAIFI)
Sr. No | Month | IMi = Number of Momentary interruptions for the month (in numbers) | Nmi = Total no of customers for each momentary interruptions (in numbers) | Imi =Nmi Number of customer Momentary interruptions (in numbers) | Nt - Total no of customers served (in numbers) | Customer Intt. ΣImi*Nmi | MAIFI=ΣImi*N mi/Nt
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | Oct.25 | 0 | 0 | 0 | 5 | 0 | 0
2 | Nov.25 | 0 | 0 | 0 | 5 | 0 | 0
3 | Dec.25 | 0 | 0 | 0 | 5 | 0 | 0

## Table 9
Jubilant Infrastructure Limited
SOP 012- CALCULATION OF SYSTEM LOSSES AT EHT / 33KV
1 | Losses in 33KV system and connected Equipment |  |  |  | Month | Meter | ABT
| i. | Energy Delivered into EHT/66KVand LT Distribution System from EHT/11KV SSs ( MUs) | A | 16.0869 | Oct.25 | 5692324.3568 | 5697559.068 | 5234.7112 | 5.6923 | 5.6976 |  | 5.6923
| ii. | Energy Sold billed. EHT Direct sales (MUs) | B | 0 | Nov.25 | 5382914.8048 | 5386018.32 | 3103.5152 | 5.3829 | 5.386 |  | 5.3829
| iii. | Energy Sold (Billed) in the 33/11KV | C | 16.0744 | Dec.25 | 4999120.5322 | 5003297.784 | 4177.2518 | 4.9991 | 5.0033 |  | 4.9991
| Jubilant Infrastructure Limited | Total sales (Mus) | (B+C) | 16.0744 | Total | 16074359.6938 | 16086875.172
| v. | Losses(MUs) | {(A)-(B+C)} | 0.012515
| vi. | % Losses | {(A)-(B+C)} x 100 / (A) | 0.0778% |  | 16.0744 | 16.0869 |  |  | Oct.25 | Nov.25 | Dec.25
[9 empty] | U1 | 904644.2108 | 1059809.5732 | 1123100.9048
[9 empty] | U2 | 2708749.5602 | 2298332.9624 | 2297499.6284
[9 empty] | U3 | 824665.842 | 762265.9044 | 891199.1088
[9 empty] | U4 | 139933.1934 | 144466.5222 | 210999.789
[9 empty] | Infra | 1114331.5504 | 1118039.8426 | 476321.1012
[10 empty] | 5692324.3568 | 5382914.8048 | 4999120.5322

## Table 10
Jubilant Infrastructure Limited
Performa SoP 013: Meter faults
Consumer Category | No. of faulty meters at the start of the quarter / year | No. of faulty meters added during the quarter / year | Total no. of defective / faulty Meter | No. of faulty Meters repaired and replaced | No of faulty meters pending at the end of the quarter
| 1 | 2 | (3)=(2)+(1) | 4 | (5)=(3)-(4)
Single Phase | 0 | 0 | 0 | 0 | 0
Three Phase | 0 | 0 | 0 | 0 | 0
HT | 0 | 0 | 0 | 0 | 0

## Table 11
Jubilant Infrastructure Limited
Annual Report: (Oct-25 to Dec-25)
Jubilant Infrastructure Limited
Performa SoP 014
Quarter | Months | Units input | Units Billed (MUs) | Billing Efficiency | Revenue Billed (Rs. Lacs) | Revenue Collected (Rs. Lacs) | Collection Efficiency % | Business Efficiency | ATC Loss% | Remarks
(MUs)
|  | A | B | C = (B/A)*100 | D | E | F = (E/D)*100 | G = (C*F)/100 | H = 100 - G
I | Oct.25 | 5.6976 | 5.6923 | 99.91% | 425.8194 | 425.8194 | 100% | 99.91% | 1
| Nov.25 | 5.386 | 5.3829 | 99.94% | 461.976 | 461.976 | 100% | 99.94% | 1
| Dec.25 | 5.0033 | 4.9991 | 99.92% | 419.89 | 419.89 | 100% | 99.92% | 1

## Table 12
Jubilant Infrastructure Limited
QUARTER : 3rd (Oct-2025 to Dec-2025)
YEAR :-2025-26
Performa SoP 016 : Compensation details
COMPENSATION DETAILS
Sr. No. | Jubilant Infrastructure Limited | Compensation | No. of cases where compensation was given (in numbers) | Amt.of compensation paid (in Rs.)
1 | Duty to provide supply | Rs.50 per day of delay from the limit specified in the performance regulations | …NIL… | ……NIL…..
| a) New connection |  | …NIL… | ……NIL…..
| b) Additional load |  | …NIL… | ……NIL…..
| c) Temporary supply |  | …NIL… | ……NIL…..
| d) Shifting service connection |  | …NIL… | ……NIL…..
| e) Transfer of service connection |  | …NIL… | ……NIL…..
| f) Change in tariff category of consumer |  | …NIL… | ……NIL…..
2 | Complaints in billing | Rs.50 for non reply within the period prescribed in Regulations | …NIL… | ……NIL…..
3 | Replacement of meters | LT Rs.25 per day of delay maximum Rs.2,500 and HT Rs. 250 per day of delay maximum of Rs. 5,000/- | …NIL… | ……NIL…..
4 | Interruption of supply | LT Rs.25 for every 6 hrs. of delay maximum of Rs.500 and HT Rs. 50 for every 6 hrs. delay maximum Rs. 1000 | …NIL… | ……NIL…..
5 | Voltage fluctuations and complaints | Rs.50 for failure to visit or convey findings wihin the stipulated period | …NIL… | ……NIL…..
6 | Responding to consumers complaints | Rs. 25 for each day of delay maximum Rs. 500 | …NIL… | ……NIL…..
7 | Grievance Handling | Rs. 25 for failure in handling grievance. | …NIL… | ……NIL…..
| TOTAL :- |  | …NIL… | ……NIL…..